## Sheet1
	Simulation of Calibration Curve Method with Reversed Cubic Least Squares Fit
	variable	value	description				Interference factor (zero => no interference)
	mo	2.0000	Analytical curve slope without interference		z		0
	z	0.0000	Interference factor (zero => no interference)				Analytical curve non-linearity (0 = linear)
	n	0.0000	Analytical curve non-linearity (0 = linear)		n
	Ev	0.0000	Random volumetric error (% RSD )				True analyte concentration in sample
	Es	0.0000	Signal measurement error (% RSD)		Cx
	Cx	10.0000	True analyte concentration in sample				Concentration of the highest standard
	Cs	10.0000	Concentration of highest standard solution		Cs
		10	Number of standard solutions (fixed at 10)	Analytical Curve / Red=standards Yellow=sample Green=calculated / Concentration / Signal
	blank	0.0000	(Uncorrected) blank signal
	Computed results based on single calibration curve shown
	qc	0.0000	Cubic term from curve fit
	qb	0.0000	Quadratic term from curve fit
	qa	0.5000	Linear term from curve fit
	Sx	20.0000	Signal given by sample
	m	2.0000	Analytical curve slope in actual sample
	Result	10.0000	Calculated concentration of unknown
	Error	0.00%	% difference between result and true Cx
	Linear	0.00%	Compare to linear curve fit result

	Statistics of 20 repeated 10-point cubic calibrations
	Mean	10.0000	Average of 20 repeat calibrations
100	s	0.000	Standard deviation of the 20 results
	% RSD	0.0%	Relative standard deviation of 20 results
100	Error	0.00%	% difference between mean and true Cx
	Tom O'Haver (toh@umd.edu), June 2009					R2 =	1.0000
52	Graph
	Analytical curve (blue line)					Linear calibration curve
0	0	0.0000					slope	2.00
	1	2.0000					Intercept	0.000
	2	4.0000					Rsquared (R2)	1.0000
	3	6.0000
	4	8.0000					Result of linear fit	10.000
	5	10.0000
	6	12.0000					Statistics calculations (20 repeat
	7	14.0000					10-point cubic calibrations)
	8	16.0000					Trial number	Sx	Result
	9	18.0000					1	20.0000	10
	10	20.0000					2	20.0000	10
						3	20.0000	10
	Standards (Red triangles)		Linear Fit (for comparison)				4	20.0000	10
1	0.0000	0.0000	0.0000				5	20.0000	10
2	1.1111	2.2222	1.1111				6	20.0000	10
3	2.2222	4.4444	2.2222				7	20.0000	10
4	3.3333	6.6667	3.3333				8	20.0000	10
5	4.4444	8.8889	4.4444				9	20.0000	10
6	5.5556	11.1111	5.5556				10	20.0000	10
7	6.6667	13.3333	6.6667				11	20.0000	10
8	7.7778	15.5556	7.7778				12	20.0000	10
9	8.8889	17.7778	8.8889				13	20.0000	10
10	10.0000	20.0000	10.0000				14	20.0000	10
11	11.1111	22.2222					15	20.0000	10
12	12.2222	24.4444					16	20.0000	10
13	13.3333	26.6667					17	20.0000	10
14	14.4444	28.8889					18	20.0000	10
15	15.5556	31.1111					19	20.0000	10
16	16.6667	33.3333					20	20.0000	10
17	17.7778	35.5556					Mean	10.000
18	18.8889	37.7778					s	0.0000
						% RSD	0.00%
	Sample (Yellow triangle)					Accuracy	0.00%
	10.0000	20.0000

	Measured Cx (result)
	10	20

	Reversed Cubic Fit trial 1					Reversed Cubic Fit trial 2					Reversed Cubic Fit trial 3					Reversed Cubic Fit trial 4					Reversed Cubic Fit trial 5					Reversed Cubic Fit trial 6					Reversed Cubic Fit trial 7					Reversed Cubic Fit trial 8					Reversed Cubic Fit trial 9					Reversed Cubic Fit trial 10					Reversed Cubic Fit trial 11					Reversed Cubic Fit trial 12					Reversed Cubic Fit trial 13					Reversed Cubic Fit trial 14					Reversed Cubic Fit trial 15					Reversed Cubic Fit trial 16					Reversed Cubic Fit trial 17					Reversed Cubic Fit trial 18					Reversed Cubic Fit trial 19					Reversed Cubic Fit trial 20
	A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C
	0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0
	10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11		10.97	4.94	2.22	1.11	1.11
	87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22		87.79	19.75	4.44	2.22	2.22
	296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33		296.3	44.44	6.67	3.33	3.33
	702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44		702.33	79.01	8.89	4.44	4.44
	1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56		1371.74	123.46	11.11	5.56	5.56
	2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67		2370.37	177.78	13.33	6.67	6.67
	3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78		3764.06	241.98	15.56	7.78	7.78
	5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89		5618.66	316.05	17.78	8.89	8.89
	8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10		8000	400	20	10	10

	Cell B136=LINEST(E117:E126;B117:D126;1;1) as array function (Ctrl-Shift-Enter)					Cell h136=LINEST(k117:k126;h117:j126;1;1) and so on ==>
	qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc
LINEST(E117:E134;B117:D134;0;0)	0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000			0.500	0.000	0.000	0.000
	0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0			0	0	0	0
	1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A			1.0000	0	#N/A	#N/A
	#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A			#VALUE!	6	#N/A	#N/A
	101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A

	© Tom O'Haver (toh@umd.edu), June, 2009