## Sheet1
Analytical calibration using a parabolic (quadratic) curve fit, with error due to instrument reading variability
	Calibration data		Calibration curve and the best-fit line / Concentration / Instrument reading					Application to unknowns

	Concentrations of the standards	Instrument readings	X*Y	X*X	X^3	X^4	X^2y		Reading of the unknown	Uncertainty (if known)	Calculated concentration	Concentration uncertainty	Percent uncertainty
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0 / Resduals	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			0	0	0	0	0
			Residuals:		Standard deviation =		#DIV/0!
Instructions

	1. Enter the concentrations		2. Enter the			(To delete a value, click		3. The concentrations			4.The last two columns
	of the standards and their		Instrument readings			on the cell and press		of the unknowns are			lists the uncertainties
	instrument readings		of the unknowns and their			the space bar).		calculated in column L			of the calculated
	into the blue table.		uncertainties (if known)					(Calculated concentrations)			concentrations.
			into the yellow table.

Summary of equations:
B28	n=number of x,y data points
B27	sumx=Σx
C27	sumy=Σy
D27	sumxy=Σx*y
E27	sumx2=Σx*x
F27	sumx3=Σx^3
G27	sumx3=Σx^4
H27	sumx2y=Σ(x^2)*y
B30	D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
B31	a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
B32	b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
B33	c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D

Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c					Note: The if( ) functions in some of the cells
sums	sumx	sumy	sumxy	sumx2	ssy	ssr	sumx2y		are not part of the actual numerical calculation.
	ΣX	ΣY	Σ(X*Y)	Σ(X*X)	Σ(X^3)	Σ(X^4)	Σ(X^2)*y		Their purpose is simply to blank out or zero
	0.0000	0.0000	0.000	0.000	0.00	0.00	0.00		out cells that are not being used at the monent.
n	0	(number of points (n)

D	0.00	Denominator (D)
a=	#DIV/0!	(coefficient of the X2 term; equals zero if best-fit line is straight)
b=	#DIV/0!	(coefficient of the X term, like the slope)
c=	#DIV/0!	(the constant, like the intercept)
y=	#DIV/0!	X^2	+	#DIV/0!	x	+	#DIV/0!
	© Tom O'Haver, October 2008
	Rights granted for educational purposes

## Sheet2
Data for fitted curve plot				Residual calculations					Uncertainty calculations
point	X	Ypredicted		Concentrations of the standards	Predicted readings	Actual-predicted	Residuals (% of max reading)		Instrument reading + uncertainiy	Calculated concentration	Instrument reading - uncertainiy	Calculated concentration	Concentration uncertainty
1	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
2	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
3	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
4	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
5	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
6	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
7	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
8	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
9	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
10	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
11	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
12	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
13	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
14	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
15	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
16	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
17	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
18	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
19	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
20	0.00	#DIV/0!			#DIV/0!	#DIV/0!			0	#DIV/0!	0	#DIV/0!	#DIV/0!
21	0.00	#DIV/0!
22	0.00	#DIV/0!
23	0.00	#DIV/0!
24	0.00	#DIV/0!
25	0.00	#DIV/0!
26	0.00	#DIV/0!
27	0.00	#DIV/0!
28	0.00	#DIV/0!
29	0.00	#DIV/0!