## Control
				Excitation wavelength			290.59	11.00	263		17.00
Excitation Spectrum / Excitation wavelength, nm / Measured intensity					Emission wavelength			400.00		262.39
				Scale					Synchronous Spectrum
				xpand					50
				1.0000
				Excitation Wavelength		Emission Wavelength		Wavelength Offset					1.00
				Emission Wavelength		Wavelength Offset		raman,x-	RamInt,x-
				390		400		10.0		449.62	8.65
				352.11	7.81
				ppm component A		ppm component B					0.00
				238		800					0.0010
Emission spectrum / Excitation wavelemgth, nm / Measured intensity					0.416869		0.000001		Intensity		38.30					0.0020
				100		100		38.3		ema, emb	exa, exb	epsa, epsb	Aex, Aem	Tex,Tem		0.0050
				36.79		1.01	1.01	0.00E+000	0.00E+000	1.00E+000		0.0100
				0.02	0.43	0.00E+000	0.00E+000	1.00E+000		0.0200
				ppb A	ppb B	SNR				0.0500
				0.01		0.01		Transmittance		0.00	0.00	3.00				0.10
				0.9996					0.20
				Band parameters for excitation and emission spectra of components A and B					0.50
				Excitation: Band 1	h1ax	1.00	Component A		1.00
Synchronous spectrum / Excitation wavelength, nm / Measured intensity					0.000001		0.000001					p1ax	390			2.00
				w1ax	20			5.00
				Cuvette control					Band 2	h2ax	0.60			10.00
				p2ax	340			20.00
	Version 2.1: June 9, 2000					1				0	1			w2ax	25			50.00
				Band 3	h3ax	0.30			100.00
				p3ax	280
				w3ax	25
				Emission: Band 1	h1am	1.00
Toff	absorbance	transmission	wavelength	ex	wavelength	ex+noise	wavelength	em	wavelength	em+noise	wavelength	synch	wavelength	synch+noise		p1am	400
1.00	0.00	0.00	200	0	200	9	200	0.00	200	4	200	0.00	200	1		w1am	20
1.00	0.00	0.00	206	0	206	1	206	0.00	206	1	206	0.00	206	5	Band 2	h2am	0.60
1.00	0.00	0.00	211	0	211	0	211	0.00	211	5	211	0.00	211	1		p2am	450
1.00	0.00	0.00	217	0	217	0	217	0.00	217	11	217	0.00	217	8		w2am	25
1.00	0.00	0.00	223	0	223	10	223	0.00	223	2	223	0.00	223	9	Band 3	h3am	0.30
1.00	0.00	0.00	229	0	229	5	229	0.00	229	8	229	0.00	229	9		p3am	500
1.00	0.00	0.00	234	0	234	2	234	0.00	234	10	234	0.00	234	5		w3am	36
1.00	0.00	0.00	240	0	240	3	240	0.00	240	10	240	0.00	240	10	Excitation: Band 1	h1bx	1.00	Component B
1.00	0.00	0.00	246	0	246	9	246	0.00	246	1	246	0.00	246	2		p1bx	420
1.00	0.00	0.00	251	0	251	3	251	0.00	251	9	251	0.00	251	3		w1bx	20
1.00	0.00	0.00	257	0	257	2	257	0.00	257	0	257	0.00	257	1	Band 2	h2bx	0.60
1.00	0.00	0.00	263	0	263	11	263	0.00	263	3	263	0.00	263	8		p2bx	370
1.00	0.00	0.00	269	0	269	2	269	0.00	269	4	269	0.00	269	4		w2bx	25
1.00	0.00	0.00	274	0	274	10	274	0.00	274	0	274	0.00	274	2	Band 3	h3bx	0.30
1.00	0.00	0.00	280	0	280	3	280	0.00	280	11	280	0.00	280	9		p3bx	320
1.00	0.00	0.00	286	0	286	6	286	0.00	286	7	286	0.00	286	6		w3bx	36
1.00	0.00	0.00	291	0	291	1	291	0.00	291	8	291	0.00	291	5	Emission: Band 1	h1bm	1.00
1.00	0.00	0.00	297	0	297	2	297	0.00	297	2	297	0.00	297	8		p1bm	440
1.00	0.00	0.00	303	0	303	3	303	0.00	303	11	303	0.00	303	10		w1bm	20
1.00	0.00	0.00	309	0	309	5	309	0.00	309	9	309	0.00	309	3	Band 2	h2bm	0.60
1.00	0.00	0.00	314	0	314	10	314	0.00	314	9	314	0.00	314	9		p2bm	490
1.00	0.00	0.00	320	0	320	1	320	0.00	320	3	320	0.00	320	0		w2bm	25
1.00	0.00	0.00	326	0	326	6	326	0.00	326	11	326	0.00	326	8	Band 3	h3bm	0.30
1.00	0.00	0.00	331	0	331	11	331	0.00	331	4	331	0.00	331	8		p3bm	540
1.00	0.00	0.00	337	0	337	1	337	0.00	337	6	337	0.00	337	2		w3bm	36
1.00	0.00	0.00	343	0	343	7	343	0.00	343	9	343	0.00	343	7
1.00	0.00	0.00	349	0	349	7	349	0.00	349	4	349	0.00	349	1
1.00	0.00	0.00	354	0	354	3	354	0.00	354	0	354	0.00	354	5
1.00	0.00	0.00	360	0	360	4	360	0.00	360	9	360	0.00	360	7
1.00	0.00	0.00	366	0	366	4	366	0.00	366	10	366	0.00	366	7
1.00	0.00	0.00	371	0	371	7	371	0.00	371	2	371	0.00	371	5
1.00	0.00	0.00	377	0	377	1	377	0.00	377	6	377	0.00	377	6
1.00	0.00	0.00	383	0	383	3	383	0.00	383	7	383	0.00	383	2
1.00	0.00	0.00	389	0	389	9	389	0.00	389	4	389	0.00	389	1
1.00	0.00	0.00	394	0	394	1	394	0.00	394	9	394	0.00	394	6
1.00	0.00	0.00	400	0	400	1	400	0.00	400	8	400	0.00	400	1
1.00	0.00	0.00	406	0	406	11	406	0.00	406	11	406	0.00	406	1
1.00	0.00	0.00	411	0	411	5	411	0.00	411	0	411	0.00	411	5
1.00	0.00	0.00	417	0	417	11	417	0.00	417	2	417	0.00	417	2
1.00	0.00	0.00	423	0	423	2	423	0.00	423	6	423	0.00	423	2
1.00	0.00	0.00	429	0	429	10	429	0.00	429	8	429	0.00	429	3
1.00	0.00	0.00	434	0	434	11	434	0.00	434	6	434	0.00	434	3
1.00	0.00	0.00	440	0	440	2	440	0.00	440	2	440	0.00	440	9
1.00	0.00	0.00	446	0	446	3	446	0.00	446	10	446	0.00	446	5
1.00	0.00	0.00	451	0	451	6	451	0.00	451	9	451	0.00	451	11
1.00	0.00	0.00	457	0	457	7	457	0.00	457	2	457	0.00	457	5
1.00	0.00	0.00	463	0	463	2	463	0.00	463	6	463	0.00	463	1
1.00	0.00	0.00	469	0	469	1	469	0.00	469	10	469	0.00	469	9
1.00	0.00	0.00	474	0	474	3	474	0.00	474	7	474	0.00	474	10
1.00	0.00	0.00	480	0	480	6	480	0.00	480	9	480	0.00	480	10
1.00	0.00	0.00	486	0	486	1	486	0.00	486	5	486	0.00	486	2
1.00	0.00	0.00	491	0	491	5	491	0.00	491	4	491	0.00	491	6
1.00	0.00	0.00	497	0	497	3	497	0.00	497	4	497	0.00	497	7
1.00	0.00	0.00	503	0	503	2	503	0.00	503	0	503	0.00	503	10
1.00	0.00	0.00	509	0	509	2	509	0.00	509	10	509	0.00	509	0
1.00	0.00	0.00	514	0	514	5	514	0.00	514	1	514	0.00	514	2
1.00	0.00	0.00	520	0	520	5	520	0.00	520	4	520	0.00	520	7
1.00	0.00	0.00	526	0	526	3	526	0.00	526	1	526	0.00	526	3
1.00	0.00	0.00	531	0	531	8	531	0.00	531	10	531	0.00	531	2
1.00	0.00	0.00	537	0	537	0	537	0.00	537	6	537	0.00	537	11
1.00	0.00	0.00	543	0	543	8	543	0.00	543	3	543	0.00	543	5
1.00	0.00	0.00	549	0	549	9	549	0.00	549	10	549	0.00	549	10
1.00	0.00	0.00	554	0	554	1	554	0.00	554	1	554	0.00	554	4
1.00	0.00	0.00	560	0	560	1	560	0.00	560	5	560	0.00	560	7
1.00	0.00	0.00	566	0	566	1	566	0.00	566	10	566	0.00	566	8
1.00	0.00	0.00	571	0	571	0	571	0.00	571	11	571	0.00	571	8
1.00	0.00	0.00	577	0	577	10	577	0.00	577	0	577	0.00	577	11
1.00	0.00	0.00	583	0	583	6	583	0.00	583	3	583	0.00	583	2
1.00	0.00	0.00	589	0	589	8	589	0.00	589	9	589	0.00	589	2
1.00	0.00	0.00	594	0	594	0	594	0.00	594	5	594	0.00	594	3
1.00	0.00	0.00	600	0	600	4	600	0.00	600	10	600	0.00	600	5
Toff	absorbance	transmission	wavelength	ex		ex+noise		em		em+noise		0		synch+noise

© T. C. O'Haver. June 2009

## Excitation
Excitation Spectrum / Excitation wavelength, nm / Measured intensity

## Emission
Emission spectrum / Excitation wavelemgth, nm / Measured intensity

## Synchronous
Synchronous spectrum / Excitation wavelength, nm / Measured intensity