## Sheet1
Simulation of standard addition method for Ca2+ determination by ion-selective electrode
including effect of interferences, perturbation of activity coefficient by standard addition, and voltage reading error
Boldface numbers are user-changable inputs
| type value here |  | variable name
Reference potential | 1 | volts | Eo
Actual Nernst factor | 0.0591 | volts | nf
Assumed Nernst factor | 0.0591 | volts | nfa
Ion charge (n) | 2 |  | n
[Ca2+] in standard | 0.02 | Moles/Liter | Cs
vol. standard added | 2 | mL | Vs
[Ca2+] in unknown | 0.0001 | Moles/Liter | Cx
Sample volume | 25 | mL | Vx
NaCl TISB conc | 0.04 | Moles/Liter | Cse
voltage reading error | 0.0005 | volts | ve
mL standard added | mmoles Ca2+ | volume (mL) | total [Ca2+] | Activity of Ca2+ | voltage | deltaE | reading error
0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[Ca2+] by standard addition |  | ionic strength error (%) |  | measurement error (%) |  | % total error
#VALUE! | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE!
Debye-Huckel calculation of activity coefficient of Ca2+, in water at 25 C
A | B | bm for Ca2+ | Ionic strength (I) | log (f) | f
0.5085 | 32810000 | 6e-08 | #VALUE! | #VALUE! | #VALUE!
|  | after addition= | #VALUE! | #VALUE! | #VALUE!
Effect of ion interferences from impurities in commercial NaCl ionic strength buffer solution
Ion | Atomic weight | selectivity constant * | charge | ug/mL in solution ** | M in solution | activity in solution | aa=activity equivalence
H+ | 1.008 | 10000000 | 1 |  | 1e-07 | #VALUE! | #VALUE!
Zn2+ | 65.39 | 3.2 | 2 | 0 | 0 | #VALUE! | #VALUE!
Fe2+ | 55.85 | 0.8 | 2 | 0 | 0 | #VALUE! | #VALUE!
Pb2+ | 207.2 | 0.6 | 2 | 0 | 0 | #VALUE! | #VALUE!
Cu2+ | 63.55 | 0.3 | 2 | 0.02 | 9.6525e-08 | #VALUE! | #VALUE!
Ni2+ | 58.7 | 0.08 | 2 | 0 | 0 | #VALUE! | #VALUE!
Sr2+ | 87.62 | 0.02 | 2 | 0 | 0 | #VALUE! | #VALUE!
Mg2+ | 24.3 | 0.01 | 2 | 20 | 0.00022826 | #VALUE! | #VALUE!
Ba2+ | 137.3 | 0.01 | 2 | 0 | 0 | #VALUE! | #VALUE!
Na+ | 22.99 | 0.0016 | 1 | 100 | #VALUE! | #VALUE! | #VALUE!
* from the electrode's spec sheet | [6 empty] | #VALUE! | sum
** from the reagent label