## Sheet1
Analytical calibration using a log-log quadratic curve fit.	Calibration curve and the best-fit line / Log Concentration / Log Instrument reading					© Tom O'Haver, Version 1, June 2013, revsed June 2013
Calibration data					Application to unknowns					http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html

Standards	Instrument readings			Accuracy	% error					Readings of the unknowns	Calculated concentration			X	Y	X*Y	X*X	X^3	X^4	X^2y
				0.0000	0.00000	0.00000	0	0	0	0		Warning: Messy math follows.
				0.0000	0.00000	0.00000	0	0	0	0		Summary of equations:
				0.0000	0.00000	0.00000	0	0	0	0		B28	n=number of x,y data points
				0.0000	0.00000	0.00000	0	0	0	0		B27	sumx=Σx
				0.0000	0.00000	0.00000	0	0	0	0		C27	sumy=Σy
				0.0000	0.00000	0.00000	0	0	0	0		D27	sumxy=Σx*y
				0.0000	0.00000	0.00000	0	0	0	0		E27	sumx2=Σx*x
				0.0000	0.00000	0.00000	0	0	0	0		F27	sumx3=Σx^3
				0.0000	0.00000	0.00000	0	0	0	0		G27	sumx3=Σx^4
				0.0000	0.00000	0.00000	0	0	0	0		H27	sumx2y=Σ(x^2)*y
				0.0000	0.00000	0.00000	0	0	0	0		B30	D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
				0.0000	0.00000	0.00000	0	0	0	0		B31	a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
				0.0000	0.00000	0.00000	0	0	0	0		B32	b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
				0.0000	0.00000	0.00000	0	0	0	0		B33	c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
	Resduals					0.0000	0.00000	0.00000	0	0	0	0
				0.0000	0.00000	0.00000	0	0	0	0
				0.0000	0.00000	0.00000	0	0	0	0		Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c					Note: The if( ) functions in some of the cells
				0.0000	0.00000	0.00000	0	0	0	0		sums	sumx	sumy	sumxy	sumx2	ssy	ssr	sumx2y		are not part of the actual numerical calculation.
				0.0000	0.00000	0.00000	0	0	0	0			ΣX	ΣY	Σ(X*Y)	Σ(X*X)	Σ(X^3)	Σ(X^4)	Σ(X^2)*y		Their purpose is simply to blank out or zero
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000	0.000	0.000	0.00	0.00	0.00		out cells that are not being used at the moment
				Average deviation of standards:	#VALUE!					0.0000	0.00000	0.00000	0	0	0	0		n	0	(number of points (n)
				R2 =	#DIV/0!					0.0000	0.00000	0.00000	0	0	0	0
				a	b	c					0.0000	0.00000	0.00000	0	0	0	0		D	0.00	Denominator (D)
				#DIV/0!	#DIV/0!	#DIV/0!					0.0000	0.00000	0.00000	0	0	0	0		a=	#DIV/0!	(coefficient of the X2 term; equals zero if best-fit line is straight)
				0.0000	0.00000	0.00000	0	0	0	0		b=	#DIV/0!	(coefficient of the X term, like the slope)
				0.0000	0.00000	0.00000	0	0	0	0		c=	#DIV/0!	(the constant, like the intercept)
				0.0000	0.00000	0.00000	0	0	0	0		y=	#DIV/0!	X^2	+	#DIV/0!	x	+	#DIV/0!	<== Equation of best fit.
				0.0000	0.00000	0.00000	0	0	0	0
				0.0000	0.00000	0.00000	0	0	0	0
				0.0000	0.00000	0.00000	0	0	0	0			Calculation of R2
				0.0000	0.00000	0.00000	0	0	0	0			Σ(Y-meany)^2	PredY		Σ(Y-PredY)^2		Σ(meanY-PredY)^2		R2 =1-(Σ(Y-PredY)^2/Σ(meanY-PredY)^2)
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000		#DIV/0!
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.00000	0.00000	0	0	0	0			0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.0000	0.0000		0.0000		0.000
				0.000	0.000		0.000		0.000

		© Tom O'Haver, Version 2.1, July 2011
		Rights granted for educational purposes

## Sheet2
Data for fitted curve plot				Residual calculations
point	X	Ypredicted		Concentrations of the standards	Predicted readings	Actual-predicted	Residuals (% of max reading)
$1.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$2.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$3.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$4.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$5.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$6.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$7.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$8.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$9.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$10.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$11.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$12.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$13.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$14.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$15.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$16.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$17.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$18.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$19.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$20.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$21.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$22.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$23.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$24.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$25.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$26.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$27.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$28.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$29.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$30.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$31.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$32.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$33.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$34.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$35.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$36.00	0.00	#DIV/0!		0.0000	#DIV/0!	#DIV/0!
$37.00	0.00	#DIV/0!
$38.00	0.00	#DIV/0!
$39.00	0.00	#DIV/0!
$40.00	0.00	#DIV/0!
$41.00	0.00	#DIV/0!
$42.00	0.00	#DIV/0!
$43.00	0.00	#DIV/0!
$44.00	0.00	#DIV/0!
$45.00	0.00	#DIV/0!
$46.00	0.00	#DIV/0!
$47.00	0.00	#DIV/0!
$48.00	0.00	#DIV/0!
$49.00	0.00	#DIV/0!
$50.00	0.00	#DIV/0!