## Sheet1
	Comparison of Quadratic and Cubic Fits with flipped axes
	variable	value	description				Interference factor (zero => no interference)
	mo	2.0000	Analytical curve slope without interference		z		0
	z	0.0000	Interference factor (zero => no interference)				Analytical curve non-linearity (0 = linear)
	n	0.0500	Analytical curve non-linearity (0 = linear)		n
	Ev	0.0000	Random volumetric error (% RSD )				True analyte concentration in sample
	Es	0.0000	Signal measurement error (% RSD)		Cx
	Cx	5.0000	True analyte concentration in sample				Concentration of the highest standard
	Cs	10.0000	Concentration of highest standard solution		Cs
		10	Number of standard solutions (fixed at 10)	Blue line: Analytical Curve / Green line: Quadratic fit Red line: Cubic fit / Concentration / Signal
	blank	0.0000	(Uncorrected) blank signal
	Quadratic (green line)	Cubic (Red line)	Computed results based on the calibration curves shown
	N/A	0.0006	Cubic term from curve fit
	0.0145	-0.0001	Quadratic term from curve fit
	0.4387	0.5223	Linear term from curve fit
	0.0633	-0.0090	Constant term from curve fit
	2.0000	2.0000	Analytical curve slope in actual sample
	5.0135	4.9874	Calculated concentration of unknown
	0.27%	-0.25%	% difference between measured and true Cx
	0.99972	0.99999	Coefficient of determination, R2
	Statistics of 20 independent 10-point calibrations
	Quadratic	Cubic
	5.0135	4.9874	Average of 20 repeat calibrations
50	0.0000	0.000	Standard deviation of the 20 results
	0.00%	0.00%	Relative standard deviation of 20 results
100	0.27%	-0.25%	% difference between average and true Cx
	Tom O'Haver (toh@umd.edu), May 2011				R2 =		Quadratic	0.99972	Cubic	0.99999
52	Graph
	Ideal analytical curve (blue line)					Linear calibration curve
50	0	0.0000					slope	1.50
	1	1.9500					Intercept	0.741
	2	3.8000					Rsquared (R2)	0.9913
	3	5.5500
	4	7.2000					Result of linear fit	#REF!
	5	8.7500
	6	10.2000					Statistics calculations (20 repeat
	7	11.5500					10-point cubic calibrations)
	8	12.8000					Trial number	Sx	Cubic result	Quadratic result
	9	13.9500					1	8.7500	4.9874	5.0135
	10	15.0000					2	8.7500	4.9874	5.0135
						3	8.7500	4.9874	5.0135
	Standards (Red triangles)		Linear Fit (for comparison)				4	8.7500	4.9874	5.0135
1	0.0000	0.0000	0.0000				5	8.7500	4.9874	5.0135
2	1.1111	2.1605	1.1111				6	8.7500	4.9874	5.0135
3	2.2222	4.1975	2.2222				7	8.7500	4.9874	5.0135
4	3.3333	6.1111	3.3333				8	8.7500	4.9874	5.0135
5	4.4444	7.9012	4.4444				9	8.7500	4.9874	5.0135
6	5.5556	9.5679	5.5556				10	8.7500	4.9874	5.0135
7	6.6667	11.1111	6.6667				11	8.7500	4.9874	5.0135
8	7.7778	12.5309	7.7778				12	8.7500	4.9874	5.0135
9	8.8889	13.8272	8.8889				13	8.7500	4.9874	5.0135
10	10.0000	15.0000	10.0000				14	8.7500	4.9874	5.0135
11	11.1111	16.0494					15	8.7500	4.9874	5.0135
12	12.2222	16.9753					16	8.7500	4.9874	5.0135
13	13.3333	17.7778					17	8.7500	4.9874	5.0135
14	14.4444	18.4568					18	8.7500	4.9874	5.0135
15	15.5556	19.0123					19	8.7500	4.9874	5.0135
16	16.6667	19.4444					20	8.7500	4.9874	5.0135
17	17.7778	19.7531					Mean		4.987	5.013
18	18.8889	19.9383					standard deviation, s		0.0000	0.0000
						% RSD		0.00%	0.00%
	Sample (Yellow triangle)					Accuracy		-0.25%	0.27%
	5.0000	8.7500

	Measured Cx (result)
	4.99	8.75

	Reversed Cubic Fit trial 1					Reversed Cubic Fit trial 2					Reversed Cubic Fit trial 3					Reversed Cubic Fit trial 4					Reversed Cubic Fit trial 5					Reversed Cubic Fit trial 6					Reversed Cubic Fit trial 7					Reversed Cubic Fit trial 8					Reversed Cubic Fit trial 9					Reversed Cubic Fit trial 10					Reversed Cubic Fit trial 11					Reversed Cubic Fit trial 12					Reversed Cubic Fit trial 13					Reversed Cubic Fit trial 14					Reversed Cubic Fit trial 15					Reversed Cubic Fit trial 16					Reversed Cubic Fit trial 17					Reversed Cubic Fit trial 18					Reversed Cubic Fit trial 19					Reversed Cubic Fit trial 20
	A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C		A3	A2	A	C	predicted C
	0	0	0	0	-0.01		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0		0	0	0	0	0
	10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13		10.08	4.67	2.16	1.11	1.13
	73.96	17.62	4.2	2.22	2.23		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24		73.96	17.62	4.2	2.22	2.24
	228.22	37.35	6.11	3.33	3.33		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34		228.22	37.35	6.11	3.33	3.34
	493.27	62.43	7.9	4.44	4.43		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44		493.27	62.43	7.9	4.44	4.44
	875.89	91.54	9.57	5.56	5.55		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56		875.89	91.54	9.57	5.56	5.56
	1371.74	123.46	11.11	6.67	6.67		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68		1371.74	123.46	11.11	6.67	6.68
	1967.63	157.02	12.53	7.78	7.79		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8		1967.63	157.02	12.53	7.78	7.8
	2643.62	191.19	13.83	8.89	8.9		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91		2643.62	191.19	13.83	8.89	8.91
	3375	225	15	10	9.98		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99		3375	225	15	10	9.99

	Cell B136=LINEST(E117:E126;B117:D126;1;1) as array function (Ctrl-Shift-Enter)					Cell H136=LINEST(k117:k126;h117:j126;1;1) and so on ==>
	qa	qb	qc	qd			qa	qb	qc				qa	qb	qc	qd			qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc				qa	qb	qc
LINEST(E117:E134;B117:D134;0;0)	0.5223	-0.0001	0.0006	-0.0090			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009			0.522	0.000	0.001	-0.009
	0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01			0.01	0	0	0.01
	1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A			1.0000	0.01	#N/A	#N/A
	154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A			154820.98	6	#N/A	#N/A
	101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A			101.85	0	#N/A	#N/A

	Reversed Quadratic Fit trial 1					Reversed Quadratic Fit trial 2					Reversed Quadratic Fit trial 3					Reversed Quadratic Fit trial 4
	A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C		A2	A	C		predicted C
	0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06		0	0	0		0.06
	4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08		4.67	2.16	1.11		1.08
	17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16		17.62	4.2	2.22		2.16
	37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29		37.35	6.11	3.33		3.29
	62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44		62.43	7.9	4.44		4.44
	91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59		91.54	9.57	5.56		5.59
	123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73		123.46	11.11	6.67		6.73
	157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84		157.02	12.53	7.78		7.84
	191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9		191.19	13.83	8.89		8.9
	225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91		225	15	10		9.91

	Cell B164=LINEST(D145:D154;B145:C154;1;1) as array function (Ctrl-Shift-Enter)					Cell H164=LINEST(k145:k154;h145:j154;1;1) and so on ==>
	a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C				a	b	C
	0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06				0.44	0.01	0.06
	0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05				0.02	0	0.05
	1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A				1	0.06	#N/A
	12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A				12498.66	7	#N/A
	101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A				101.82	0.03	#N/A

	LINEST(D145:D154;B145:C154;1;1)