## Answer Report 1
Microsoft Excel 15.0 Answer Report
Worksheet: [TransmissionFitting.xls]Sheet1
Report Created: 6/15/2016 8:49:12 AM
Result: Solver found a solution. All Constraints and optimality conditions are satisfied.
Solver Engine
Engine: GRG Nonlinear
Solution Time: 0.032 Seconds.
Iterations: 4 Subproblems: 0
Solver Options
Max Time Unlimited, Iterations Unlimited, Precision 0.000001, Use Automatic Scaling
Convergence 0.0001, Population Size 100, Random Seed 0, Derivatives Forward, Require Bounds
Max Subproblems Unlimited, Max Integer Sols Unlimited, Integer Tolerance 1%, Assume NonNegative
Objective Cell (Min)
| Cell | Name | Original Value | Final Value
| $H$5 | Sum of residuals | 0.044452 | 0.031678
Variable Cells
| Cell | Name | Original Value | Final Value | Integer
| $I$5 | Absorbance | 20.7836 | 19.8878 | Contin
Constraints
| Cell | Name | Cell Value | Formula | Status | Slack
| $I$5 | Absorbance | 19.8878 | $I$5<=1000 | Not Binding | 980.1122
| $I$5 | Absorbance | 19.8878 | $I$5>=-1 | Not Binding | 20.8878

## Sensitivity Report 1
Microsoft Excel 15.0 Sensitivity Report
Worksheet: [TransmissionFitting.xls]Sheet1
Report Created: 6/15/2016 8:49:12 AM
Variable Cells
|  |  | Final | Reduced
| Cell | Name | Value | Gradient
| $I$5 | Absorbance | 19.8878 | 0
Constraints
NONE

## Limits Report 1
Microsoft Excel 15.0 Limits Report
Worksheet: [TransmissionFitting.xls]Sheet1
Report Created: 6/15/2016 8:49:12 AM
Objective
| Cell | Name | Value
| $H$5 | Sum of residuals | 0.034473
|  | Variable |  | Lower | Objective | Upper | Objective
| Cell | Name | Value | Limit | Result | Limit | Result
| $I$5 | Absorbance | 19.8878 | -1 | 20.0961 | 1000 | 1.7391

## Sheet1
Demonstration of "Transmission Fitting Method" in a spreadsheet, for a simulated Gaussian absorption peak, with noise and stray light.
The simulated sample spectrum is calculated in columns A-D. The reference spectrum is calculated in columns E-H. You can change the peak parameters, noise, and stray light defined in the blue cells, row 6, columns A-F.
The slit (resolution) function is defined by the 17 coefficients in the blue cells, row 6, columns N through AD. Enter the observed or calculated slit function there. (Blue cells are input cells). | [26 empty] | Sum | Sum/max
To create calibration curve, enter concenrations in AF10 - AF18, enable macros, then press Ctrl-f (or click Developer tab, click Macros, select macro2, and click Run). | [18 empty] | Tom O'Haver (toh@umd.edu), 2016 | [7 empty] | 81 | 9
Concentration (any units) | Peak Width | Peak wavelength | Detector Noise % | Photon Noise % | Unabsorbed stray light % | SumSq of residuals | Best-fit Absorbance | Conventional A = log(1/T) | Slit function (type or paste 17 values in the row below). For some other slit functions to try, see row 64-68.
100 | 100 | 550 | 0.1 | 0.1 | 1 | 0.0062572 | 99.3227 | 2.0316 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
independent variable | Spectrum of sample | Output of spectrometer | Observed sample T | Reference A | Reference T | Observed reference T | Residuals
wavelength | transmission | transmission | transmission | absorbance | transmission | transmission | Sample T - Reference T | [21 empty] | Results table for Macro2
200 | 1 | 0.99972 | 1.0107 | 1.7721e-13 | 1.01 | 1 | 0 | [20 empty] | Conc. | Tfit | log(1/T)
210 | 1 | 0.99972 | 1.0118 | 1.2001e-12 | 1.01 | 1 | 0 | [20 empty] | 0.01 | 0.0095717 | 0.0028516
220 | 1 | 0.99972 | 1.0087 | 7.6891e-12 | 1.01 | 1 | 0 | [20 empty] | 0.01 | 0.0097533 | 0.0031038
230 | 1 | 0.99972 | 1.0104 | 4.6607e-11 | 1.01 | 1 | 0 | [20 empty] | 0.1 | 0.10284 | 0.068323
240 | 1 | 0.99972 | 1.0095 | 2.6727e-10 | 1.01 | 1 | 0 | [20 empty] | 0.1 | 0.10128 | 0.068436
250 | 1 | 0.99972 | 1.0117 | 1.45e-09 | 1.01 | 1 | 0 | [20 empty] | 1 | 1.0169 | 0.65218
260 | 1 | 0.99972 | 1.0102 | 7.4423e-09 | 1.01 | 1 | 0 | [20 empty] | 1 | 0.99902 | 0.64973
270 | 1 | 0.99972 | 1.0097 | 3.6138e-08 | 1.01 | 1 | 0 | [20 empty] | 10 | 9.9596 | 1.9625
280 | 1 | 0.99972 | 1.0103 | 1.6602e-07 | 1.01 | 1.0097 | -0.0005773 | [20 empty] | 10 | 10.0077 | 1.9386
290 | 1 | 0.99918 | 1.0095 | 7.2152e-07 | 1.01 | 1.0092 | -0.00034773 | [20 empty] | 100 | 99.3227 | 2.0357
300 | 0.99999 | 0.99773 | 1.0069 | 2.9667e-06 | 1.01 | 1.0077 | 0.00085297
310 | 0.99997 | 0.99413 | 1.0033 | 1.154e-05 | 1.01 | 1.0042 | 0.00083239
320 | 0.9999 | 0.98607 | 0.99542 | 4.2469e-05 | 1.0099 | 0.99615 | 0.00073741
330 | 0.99966 | 0.97018 | 0.97942 | 0.00014786 | 1.0097 | 0.98034 | 0.00091459
340 | 0.99887 | 0.94342 | 0.95309 | 0.00048704 | 1.0089 | 0.95368 | 0.00059251
350 | 0.99649 | 0.90452 | 0.91426 | 0.0015177 | 1.0065 | 0.91488 | 0.00062399
360 | 0.98968 | 0.85337 | 0.86195 | 0.0044744 | 0.99975 | 0.86383 | 0.0018866
370 | 0.97148 | 0.79012 | 0.80038 | 0.01248 | 0.98167 | 0.80069 | 0.00030786
380 | 0.9265 | 0.71524 | 0.72669 | 0.03293 | 0.93698 | 0.7259 | -0.00078682
390 | 0.82648 | 0.62982 | 0.64034 | 0.082205 | 0.83755 | 0.64057 | 0.00023309
400 | 0.63757 | 0.53634 | 0.5468 | 0.19415 | 0.64952 | 0.54715 | 0.00034705
410 | 0.36581 | 0.43946 | 0.44819 | 0.43379 | 0.37831 | 0.45029 | 0.0020928
420 | 0.11934 | 0.3459 | 0.35639 | 0.91696 | 0.13107 | 0.35667 | 0.0002806
430 | 0.014248 | 0.26173 | 0.27096 | 1.8337 | 0.024664 | 0.27241 | 0.0014485
440 | 0.00032134 | 0.18954 | 0.20028 | 3.4694 | 0.010339 | 0.20012 | -0.00016571
450 | 5.5945e-07 | 0.12965 | 0.14038 | 6.2099 | 0.010001 | 0.14012 | -0.00025638
460 | 2.5859e-11 | 0.081974 | 0.091137 | 10.5157 | 0.01 | 0.092341 | 0.0012032
470 | 1.0928e-17 | 0.046291 | 0.05619 | 16.8466 | 0.01 | 0.056558 | 0.00036767
480 | 1.9617e-26 | 0.022047 | 0.032729 | 25.5332 | 0.01 | 0.032219 | -0.00051005 | Make sure in the Solver Parameters box that "Set Objective" is H6 and "By Changing Variable Cells"
490 | 1.3757e-37 | 0.0080064 | 0.017039 | 36.6118 | 0.01 | 0.018096 | 0.001057 | is I6 and that "Options", "GRC Nonlinear" is set to "Use Multistart".
500 | 9.8974e-51 | 0.0018371 | 0.01227 | 49.6658 | 0.01 | 0.011869 | -0.00040038
510 | 6.6839e-65 | 0.00018385 | 0.01055 | 63.7403 | 0.01 | 0.010189 | -0.00036006
520 | 1.2051e-78 | 3.981e-06 | 0.0096331 | 77.3912 | 0.01 | 0.010004 | 0.00037115
530 | 3.1348e-90 | 6.9074e-09 | 0.0092973 | 88.8976 | 0.01 | 0.01 | 0.00070274
540 | 5.422e-98 | 3.1925e-13 | 0.010687 | 96.6071 | 0.01 | 0.01 | -0.00068732
550 | 1e-100 | 2.6984e-19 | 0.01024 | 99.3227 | 0.01 | 0.01 | -0.00023972
560 | 5.422e-98 | 3.1925e-13 | 0.0095168 | 96.6071 | 0.01 | 0.01 | 0.00048319
570 | 3.1348e-90 | 6.9074e-09 | 0.0098952 | 88.8976 | 0.01 | 0.01 | 0.00010481
580 | 1.2051e-78 | 3.981e-06 | 0.0096716 | 77.3912 | 0.01 | 0.010004 | 0.0003326
590 | 6.6839e-65 | 0.00018385 | 0.010068 | 63.7403 | 0.01 | 0.010189 | 0.0001217
600 | 9.8974e-51 | 0.0018371 | 0.012722 | 49.6658 | 0.01 | 0.011869 | -0.000853
610 | 1.3757e-37 | 0.0080064 | 0.016962 | 36.6118 | 0.01 | 0.018096 | 0.0011344
620 | 1.9617e-26 | 0.022047 | 0.032664 | 25.5332 | 0.01 | 0.032219 | -0.00044588
630 | 1.0928e-17 | 0.046291 | 0.056899 | 16.8466 | 0.01 | 0.056558 | -0.00034189
640 | 2.5859e-11 | 0.081974 | 0.091936 | 10.5157 | 0.01 | 0.092341 | 0.00040503
650 | 5.5945e-07 | 0.12965 | 0.13999 | 6.2099 | 0.010001 | 0.14012 | 0.00013059
660 | 0.00032134 | 0.18954 | 0.20082 | 3.4694 | 0.010339 | 0.20012 | -0.00070537
670 | 0.014248 | 0.26173 | 0.27305 | 1.8337 | 0.024664 | 0.27241 | -0.00063563
680 | 0.11934 | 0.3459 | 0.35673 | 0.91696 | 0.13107 | 0.35667 | -6.2173e-05
690 | 0.36581 | 0.43946 | 0.44789 | 0.43379 | 0.37831 | 0.45029 | 0.0024002
700 | 0.63757 | 0.53634 | 0.54591 | 0.19415 | 0.64952 | 0.54715 | 0.0012419
710 | 0.82648 | 0.62982 | 0.63981 | 0.082205 | 0.83755 | 0.64057 | 0.00076516
720 | 0.9265 | 0.71524 | 0.72594 | 0.03293 | 0.93698 | 0.7259 | -3.3684e-05
730 | 0.97148 | 0.79012 | 0.79861 | 0.01248 | 0.98167 | 0.80069 | 0.0020772 |  |  | Some other possible slit functions to copy and paste into row 6, columns N through AD.
740 | 0.98968 | 0.85337 | 0.86433 | 0.0044744 | 0.99975 | 0.86383 | -0.00049691
750 | 0.99649 | 0.90452 | 0.91545 | 0.0015177 | 1.0065 | 0.91488 | -0.00056532 |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0
760 | 0.99887 | 0.94342 | 0.95305 | 0.00048704 | 1.0089 | 0.95368 | 0.00062887 |  |  | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 0
770 | 0.99966 | 0.97018 | 0.97997 | 0.00014786 | 1.0097 | 0.98034 | 0.00037193 |  |  | 0 | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0
780 | 0.9999 | 0.98607 | 0.99565 | 4.2469e-05 | 1.0099 | 0.99615 | 0.00050735 |  |  | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0 | 0
790 | 0.99997 | 0.99413 | 1.0056 | 1.154e-05 | 1.01 | 1.0042 | -0.0014381 |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 4 | 3 | 2 | 1 | 0 | 0 | 0 | 0 | 0
800 | 0.99999 | 0.99773 | 1.0081 | 2.9667e-06 | 1.01 | 1.0077 | -0.00034118
810 | 1 | 0.99918 | 1.0094 | 7.2152e-07 | 1.01 | 1.0092 | -0.00023781
820 | 1 | 0.99972 | 1.0099 | 1.6602e-07 | 1.01 | 1.0097 | -0.00014782
830 | 1 | 0.99991 | 1.0097 | 3.6138e-08 | 1.01 | 1.0099 | 0.00019082
840 | 1 | 0.99991 | 1.0099 | 7.4423e-09 | 1.01 | 1 | 0
850 | 1 | 0.99991 | 1.0097 | 1.45e-09 | 1.01 | 1 | 0
860 | 1 | 0.99991 | 1.0107 | 2.6727e-10 | 1.01 | 1 | 0
870 | 1 | 0.99991 | 1.0096 | 4.6607e-11 | 1.01 | 1 | 0
880 | 1 | 0.99991 | 1.0109 | 7.6891e-12 | 1.01 | 1 | 0
890 | 1 | 0.99991 | 1.0101 | 1.2001e-12 | 1.01 | 1 | 0
890 | 1 | 0.99991 | 1.0098 | 1.2001e-12 | 1.01 | 1 | 0
890 | 1 | 0.99991 | 1.012 | 1.2001e-12 | 1.01 | 1 | 0
Note on A6: Tom O'Haver: Thsee blue cells are input cells for you to type values into.
Note on D5: Tom O'Haver: Detector noise is fixed, independent of light intensity.
Note on E5: Tom O'Haver: Photon noise is proportional to the square root of light intensity.
Note on H6: Tom O'Haver: The sum of the squares of the differences between thesample transmission and the calculated reference transmission. This is the quantity that the Solver seeks to minimize.
Note on I6: Tom O'Haver: This is the value of absorbance in the calculated model that gives the best fit to the observed data. Compare this to the true absorbance in cell A6.
Note on J6: Tom O'Haver: The conventional absorbance. Compare this to the best-fit absorbance in cell H6 and to the true absorbance in cell A6.
Note on J8: Tom: This colums calculates the smoothed derivative of column C.
Note on L8: Tom: This colums calculates the smoothed derivative of column E.
Note on AF9: Tom O'Haver: Enter the true peak heights here.