## Sheet1
Simulation of the Two-standard Bracket Method
| variable | value | description
| mo | 1 | Analytical curve slope without interference
| z | 0 | Interference factor (zero => no interference)
| n | 0.02 | Analytical curve non-linearity (0 = linear)
| Ev | 0 | Random volumetric error (% RSD )
| Es | 0 | Signal measurement error (% RSD)
| Cx | 5 | True concentration in unknown sample
| Csa | 5.5 | Concentration of standard solution a
| Csb | 4.5 | Concentration of standard solution b
| blank | 0 | (Uncorrected) blank signal
Computed results
| Ssa | 4.895 | Signal given by standard solution a
| Ssb | 4.095 | Signal given by standard solution b
| Sx | 4.5 | Signal given by unknown sample
| m | 1 | Analytical curve slope in actual sample
| result | 5.0063 | Calculated concentration of unknown
| error | 0.125% | % difference between result and true Cx
| recovery | 100% | Relative % effect of interference on signal
| Est. RSD | 0% | Predicted relative standard deviation of result
Statistics
| Mean | 5.0062 | Average result of 20 repeat measurements
100 | s | 1.8225e-15 | Standard deviation of the 20 results
| % RSD | 3.64e-14% | Relative standard deviation of 20 results
100 | Error | 0.125% | % difference between Mean and true Cx
93
Analytical curve (blue line)
0 | 0 | 0
| 1 | 0.98
| 2 | 1.92
| 3 | 2.82
| 4 | 3.68
| 5 | 4.5
| 6 | 5.28
| 7 | 6.02
| 8 | 6.72
| 9 | 7.38
| 10 | 8
| Standards (Red triangles) |  |  |  | Sample signal reading (green line)
| 5.5 | 4.895 |  |  | 0 | 4.5
| 4.5 | 4.095 |  |  | 5.5 | 4.5
Calculated sample concentration (blue line)
| Sample (Yellow triangle) |  |  |  | 5.0063 | 0
| 5 | 4.5 |  |  | 5.0063 | 4.5
|  |  | Predicted random error calculations |  |  |  |  | Repetitive calculation of Csa+(Csb-Csa)*(Sx-Ssa)/(Ssb-Ssa)
|  | Error Propagation of Csa+(Cab-Csa)*(Sx-Ssa)/(Ssb-Ssa) |  | RSD | Statistics calculations |  |  | Ssa | Ssb | Sx | Csa | Csb | result
|  | 0 | Standard deviation of (Csb-Csa) | 0% | Run number | result |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
|  | 0 | Standard deviation of (Sx-Ssa) | 0% | 1 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
|  | 0 | Standard deviation of (Ssb-Ssa) | 0% | 2 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
|  | 0% | Relative standard deviation of (Csb-Cs)*(Sx-Ssa/(Ssb-Ssa) |  | 3 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
|  | 0 | Standard deviation of Csa+(Csb-Csa)*(Sx-Ssa)/(Ssb-Ssa) |  | 4 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
|  | 0% | Relative standard deviation of result |  | 5 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 6 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 7 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 8 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 9 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 10 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 11 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 12 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 13 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 14 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 15 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 16 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 17 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 18 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 19 | 5.0063 |  | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0063
[5 empty] | 20 | 5.0063 | Mean | 4.895 | 4.095 | 4.5 | 5.5 | 4.5 | 5.0062
[5 empty] | Mean | 5.0062 | std. Deviation | 1.8225e-15 | 0 | 0 | 0 | 0 | 1.8225e-15
[5 empty] | std. Deviation | 1.8225e-15 | % RSD | 3.723e-14% | 0% | 0% | 0% | 0% | 3.64e-14%
[5 empty] | % RSD | 3.64e-14% | 2.2361
[5 empty] | Accuracy | 0.125%
Tom O'Haver (toh@umd.edu),August 2014
http://terpconnect.umd.edu/~toh/
Note on C68: This is the predicted relative standard deviation of a very large number results, calculated by the procedure in cells C98 to F103.
Note on C72: This is the actual relative standard deviation of 20 repeat results, calculated in cells I99 to I121.