## Sheet1
Simulation of Linear Calibration Curve Method
| variable | value | description
| mo | 1 | Analytical curve slope without interference
| z | 0 | Interference factor (zero = no interference)
| n | 0 | Analytical curve non-linearity (0 = linear)
| Ev | 0 | Random volumetric error (% RSD )
| Es | 0 | Signal measurement error (% RSD)
| Cx | 5 | True analyte concentration in sample
| Cs | 10 | Concentration of highest standard solution
| ns | 9 | Number of standard solutions
| blank | 0 | (Uncorrected) blank signal
Computed results based on single calibration curve shown
| slope | 1 | Slope of calibration standards
| intercept | 0 | Intercept of calibration standards
| Sx | 5 | Signal given by sample
| m | 1 | Analytical curve slope in actual sample
| result | 5 | Calculated concentration of unknown
| error | 0% | % difference between result and true Cx
| recovery | 100% | Relative % effect of interference on signal
| Pred RSD | 0% | Predicted RSD based on current calibration.
| Statistics |  | Statistics of 20 repeat experiments (separate calibrations and measurements)
| Mean | 5 | Average of 20 measurements of Cx
100 | s | 0 | Standard deviation of the 20 measurements
| % RSD | 0% | Relative standard deviation
100 | Error | 0% | % difference between mean and true Cx
[7 empty] | Comparison of error metrics | Avg. of 20 repeats | st. dev. of 20 repeats | Pred. st. dev (single set)
52 | [6 empty] | Slope | 1 | 0 | 0
[7 empty] | Intercept | 0 | 0 | 0
0 | 0 | 0 | Analytical curve (blue line)
| 0.25 | 1.25 |  | Sample signal reading (green line)
| 1.5 | 2.5 |  | 0 | 5
| 2.75 | 3.75 |  | 5 | 5
| 4 | 5 |  | Calculated sample concentration (blue line)
| 5.25 | 6.25 |  | 5 | 0
| 6.5 | 7.5 |  | 5 | 5
| 7.75 | 8.75
| 9 | 10
| #N/A | NA()
| #N/A | NA()
| #N/A | NA()
| #N/A | NA()
| #N/A | NA()
| #N/A | NA()
| #N/A | NA()
| #N/A | NA()
| #N/A | NA()
#VALUE!
| -1 | 0
| -1 | 0
| -1 | 0
| -1 | 0
| -1 | 0
| -1 | 0
| -1 | 0
21 repeat experiments (separate calibrations and measurements)
| Standards (Red triangles) |  |  | x^2 | x*y |  | Current calibration curve |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
1 | 0 | 0 | 0 | 0 | 0 | 0 | slope | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1.25 | 1.25 | 1.25 | 1.5625 | 1.5625 | 0 | Intercept | 0 |  | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25
3 | 2.5 | 2.5 | 2.5 | 6.25 | 6.25 | 0 | Rsquared (R2) | 1 |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
4 | 3.75 | 3.75 | 3.75 | 14.0625 | 14.0625 | 0 | Average (R2) | 1 |  | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75 | 3.75
5 | 5 | 5 | 5 | 25 | 25 | 0 |  |  |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
6 | 6.25 | 6.25 | 6.25 | 39.0625 | 39.0625 | 0 |  |  |  | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25 | 6.25
7 | 7.5 | 7.5 | 7.5 | 56.25 | 56.25 | 0 |  |  |  | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5
8 | 8.75 | 8.75 | 8.75 | 76.5625 | 76.5625 | 0 |  |  |  | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75 | 8.75
9 | 10 | 10 | 10 | 100 | 100 | 0 |  |  |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
10 | 11.25 | 0 | 0 | 0 | 0 | [25 empty] | #N/A | NA()
11 | 12.5 | 0 | 0 | 0 | 0 | [25 empty] | #N/A | NA()
12 | 13.75 | 0 | 0 | 0 | 0 | [25 empty] | #N/A | NA()
13 | 15 | 0 | 0 | 0 | 0 | [25 empty] | #N/A | NA()
14 | 16.25 | 0 | 0 | 0 | 0 | [25 empty] | #N/A | NA()
15 | 17.5 | 0 | 0 | 0 | 0 | [25 empty] | #N/A | NA()
16 | 18.75 | 0 | 0 | 0 | 0 | [25 empty] | #N/A | NA()
17 | 20 | 0 | 0 | 0 | 0 | [25 empty] | #N/A | NA()
18 | 21.25 | 0 | 0 | 0 | 0 | [25 empty] | #N/A | NA()
|  | 45 | 45 | 318.75 | 318.75 | 0
| Sample (Yellow triangle) |  | delta = ns*sumx2-sumx^2 | 843.75 | 843.75 |  |  |  | slope | bar: 1 to 21
| 5 | 5 | Prediction of random errors (standard deviations) | [5 empty] | Intercept | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | slope: m = (ns*sumxy-sumx*sumy)/delta |  | 1 |  |  |  | Rsquared (R2) | bar: 1 to 21
| Measured Cx |  | intercept: b = (sumx2*sumy-sumx*sumxy)/delta |  | 0 |  |  |  | Sx | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| 5 | 5 | Estimated standard deviation of the ys |  | 0 |  |  |  | Result |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
|  |  | Estimated standard deviation of the y intercept |  | 0 |  |  |  |  | 1: Statistics of 20 entire repeats
|  |  | Estimated standard deviation of the slope |  | 0 |  |  |  |  | 1: Mean; 2: 5
|  |  | Sx-intercept |  | 5 |  |  |  |  | 1: s; 2: 0; 3: s=standard deviation corrected for small sample size
|  |  | Estimated standard deviation of (Sx-intercept) |  | 0 |  |  |  |  | 1: % RSD; 2: 0%; 3: RSD=relative standard deviation
|  |  | Estimated standard deviation of result=(Sx-intercept)/slope |  | 0 |  | 0 |  |  | 1: Accuracy; 2: 0%
|  |  | Estimated relative standard deviation of result |  | 0% |  |  |  |  | 1: Slope:
[10 empty] | Mean | 1
[10 empty] | s | 0
[10 empty] | % RSD | 0%
Intercept:
| © Tom O'Haver (toh@umd.edu), June, 2009 | [8 empty] | 1: Mean; 2: 0
[10 empty] | s | 0 | s=standard deviation corrected for small sample size
residuals
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 1.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | St. Dev. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | RSD | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | average RSD | 1: #VALUE!
Note on C57: Use the number spinner here to adjust this number.
Note on C68: This is the predicted relative standard deviation based only on the current calibration curve (graphed at right). Compate this to cell C72 below, in red.
Note on C72: This is the actual stardard deviation of the measured sample concentration from 20 completely separate experiments (20 calibration curves and sample readings). Compare this to cell C68 (in red).
Note on F126: Click these cells to see the equations