## Sheet1
Analytical calibration using a quadratic curve fit. | [19 empty] | © Tom O'Haver, Version 2.1, July 2011, expanded June 2013
| Calibration data | [5 empty] | Application to unknowns | [12 empty] | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
| Standards | Instrument readings |  |  |  |  | Reading of the unknown | Calculated concentration | accuracy | % error | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | #DIV/0! | #NAME? | [9 empty] | Standards | Instrument readings | Reading of the unknown | Calculated concentration | accuracy | % error | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | #DIV/0! | #NAME?
| 1 | 1 | [6 empty] | #DIV/0! | #DIV/0! | 1 | 1 | 1 | 1 | 1 | 1 | 1 | #DIV/0! | #DIV/0! | Warning: Messy math follows. | [8 empty] | 1 | 1 |  |  | #DIV/0! | #DIV/0! | 1 | 1 | 1 | 1 | 1 | 1 | 1 | #DIV/0! | #DIV/0! | 2 | 2
| 2 | 2 | [6 empty] | #DIV/0! | #DIV/0! | 2 | 2 | 4 | 4 | 8 | 16 | 8 | #DIV/0! | #DIV/0! | Summary of equations: | [8 empty] | 2 | 2 |  |  | #DIV/0! | #DIV/0! | 2 | 2 | 4 | 4 | 8 | 16 | 8 | #DIV/0! | #DIV/0! | 2 | 3
| 3 | 3 | [6 empty] | #DIV/0! | #DIV/0! | 3 | 3 | 9 | 9 | 27 | 81 | 27 | #DIV/0! | #DIV/0! | B28 | n=number of x,y data points | [7 empty] | 3 | 3 |  |  | #DIV/0! | #DIV/0! | 3 | 3 | 9 | 9 | 27 | 81 | 27 | #DIV/0! | #DIV/0! | 3 | 3
| 4 | 4 | [6 empty] | #DIV/0! | #DIV/0! | 4 | 4 | 16 | 16 | 64 | 256 | 64 | #DIV/0! | #DIV/0! | B27 | sumx=?x | [7 empty] | 4 | 4 |  |  | #DIV/0! | #DIV/0! | 4 | 4 | 16 | 16 | 64 | 256 | 64 | #DIV/0! | #DIV/0! | 4 | 5
| 5 | 5 | [6 empty] | #DIV/0! | #DIV/0! | 5 | 5 | 25 | 25 | 125 | 625 | 125 | #DIV/0! | #DIV/0! | C27 | sumy=?y | [7 empty] | 5 | 5 |  |  | #DIV/0! | #DIV/0! | 5 | 5 | 25 | 25 | 125 | 625 | 125 | #DIV/0! | #DIV/0! | 6 | 5
| 6 | 6 | [6 empty] | #DIV/0! | #DIV/0! | 6 | 6 | 36 | 36 | 216 | 1296 | 216 | #DIV/0! | #DIV/0! | D27 | sumxy=?x*y | [7 empty] | 6 | 6 |  |  | #DIV/0! | #DIV/0! | 6 | 6 | 36 | 36 | 216 | 1296 | 216 | #DIV/0! | #DIV/0! | 6 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | E27 | sumx2=?x*x | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | F27 | sumx3=?x^3 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | G27 | sumx3=?x^4 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | H27 | sumx2y=?(x^2)*y | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | sums | sumx | sumy | sumxy | sumx2 | sumx3 | ssr | sumx2y | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | sums | sumx | sumy | sumxy | sumx2 | sumx3 | sumx4 | sumx2y
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! |  | 21 | 21 | 91 | 91 | 441 | 2275 | 441 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! |  | 21 | 21 | 91 | 91 | 441 | 2275 | 441
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | n | 6 | (number of points (n) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | n | 6 | (number of points (n)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | D | 3920 | Denominator (D) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | D | 3920 | Denominator (D)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | a= | 0 | (coefficient of the X2 term; equals zero if best-fit line is straight) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | a= | 0 | (coefficient of the X2 term; equals zero if best-fit line is straight)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | b= | 1 | (coefficient of the X term, like the slope) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | b= | 1 | (coefficient of the X term, like the slope)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | c= | 0 | (the constant, like the intercept) | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | c= | 0 | (the constant, like the intercept)
|  |  | Average deviation of standards: | #DIV/0! | R2 = | 1 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | y= | 0 | X^2 | + | 1 | x | + | 0 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | y= | 0 | X^2 | + | 1 | x | + | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | R2= | 1 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | R2= | 1
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE!
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | Calculation of R2 | [5 empty] | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2) | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | Calculation of R2
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2)
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 6.25 | 1 |  | 0 |  | 6.25 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 6.25 | 1 |  | 0 |  | 6.25 |  | 1
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 2.25 | 2 |  | 0 |  | 2.25 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 2.25 | 2 |  | 0 |  | 2.25
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0.25 | 3 |  | 0 |  | 0.25 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0.25 | 3 |  | 0 |  | 0.25
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0.25 | 4 |  | 0 |  | 0.25 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0.25 | 4 |  | 0 |  | 0.25
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 2.25 | 5 |  | 0 |  | 2.25 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 2.25 | 5 |  | 0 |  | 2.25
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 6.25 | 6 |  | 0 |  | 6.25 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 6.25 | 6 |  | 0 |  | 6.25
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #VALUE! |  | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 0 | 0 |  | 0 |  | 0 | [18 empty] | 0 | 0 |  | 0 |  | 0
[21 empty] | 17.5 | 21 |  | 0 |  | 17.5 | [18 empty] | 17.5 | 21 |  | 0 |  | 17.5
[21 empty] | © Tom O'Haver, Version 2.1, July 2011, expanded June 2013 | [23 empty] | © Tom O'Haver, Version 2.1, July 2011, expanded June 2013
[21 empty] | Rights granted for educational purposes | [23 empty] | Rights granted for educational purposes
[21 empty] | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html | [23 empty] | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1 | 1 | 1 | 1 | 0 | 0
2 | 1.1 | 1.1 | 2 | 2 | 0 | 0
3 | 1.2 | 1.2 | 3 | 3 | 0 | 0
4 | 1.3 | 1.3 | 4 | 4 | 0 | 0
5 | 1.4 | 1.4 | 5 | 5 | 0 | 0
6 | 1.5 | 1.5 | 6 | 6 | 0 | 0
7 | 1.6 | 1.6 |  |  | #VALUE!
8 | 1.7 | 1.7 |  |  | #VALUE!
9 | 1.8 | 1.8 |  |  | #VALUE!
10 | 1.9 | 1.9 |  |  | #VALUE!
11 | 2 | 2 |  |  | #VALUE!
12 | 2.1 | 2.1 |  |  | #VALUE!
13 | 2.2 | 2.2 |  |  | #VALUE!
14 | 2.3 | 2.3 |  |  | #VALUE!
15 | 2.4 | 2.4 |  |  | #VALUE!
16 | 2.5 | 2.5 |  |  | #VALUE!
17 | 2.6 | 2.6 |  |  | #VALUE!
18 | 2.7 | 2.7 |  |  | #VALUE!
19 | 2.8 | 2.8 |  |  | #VALUE!
20 | 2.9 | 2.9 |  |  | #VALUE!
21 | 3 | 3 |  |  | #VALUE!
22 | 3.1 | 3.1 |  |  | #VALUE!
23 | 3.2 | 3.2 |  |  | #VALUE!
24 | 3.3 | 3.3 |  |  | #VALUE!
25 | 3.4 | 3.4 |  |  | #VALUE!
26 | 3.5 | 3.5 |  |  | #VALUE!
27 | 3.6 | 3.6 |  |  | #VALUE!
28 | 3.7 | 3.7 |  |  | #VALUE!
29 | 3.8 | 3.8 |  |  | #VALUE!
30 | 3.9 | 3.9 |  |  | #VALUE!
31 | 4 | 4 |  |  | #VALUE!
32 | 4.1 | 4.1 |  |  | #VALUE!
33 | 4.2 | 4.2 |  |  | #VALUE!
34 | 4.3 | 4.3 |  |  | #VALUE!
35 | 4.4 | 4.4 |  |  | #VALUE!
36 | 4.5 | 4.5 |  |  | #VALUE!
37 | 4.6 | 4.6 |  |  | #VALUE!
38 | 4.7 | 4.7 |  |  | #VALUE!
39 | 4.8 | 4.8 |  |  | #VALUE!
40 | 4.9 | 4.9 |  |  | #VALUE!
41 | 5 | 5 |  |  | #VALUE!
42 | 5.1 | 5.1 |  |  | #VALUE!
43 | 5.2 | 5.2 |  |  | #VALUE!
44 | 5.3 | 5.3 |  |  | #VALUE!
45 | 5.4 | 5.4 |  |  | #VALUE!
46 | 5.5 | 5.5
47 | 5.6 | 5.6
48 | 5.7 | 5.7
49 | 5.8 | 5.8
50 | 6 | 6