## Sheet1
Analytical calibration using a weighted quadratic curve fit. | [5 empty] | Application to unknowns | [10 empty] | © Tom O'Haver, February 2016
| Calibration data |  |  |  |  | Here the instrument readings for the standards are converted back into concentrations as a test of accuracy. | [5 empty] | Weighted intermediate calculations |  |  |  |  | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html | [8 empty] | 0.97993 | 0.96026 | 0.00061387 | 3.7684e-07 | Normalized weights (Copy/Paste to Column A)
Weights | Standards | Instrument readings |  |  |  | Reading of the unknown | Calculated concentration |  | Instructions | X | Y | X*Y | X*X | X^3 | X^4 | X^2y | [10 empty] | 1/X | 1/X^2 | 1/Y | 1/Y^2 | 1/X | 1/X^2 | 1/Y | 1/Y^2
0.97993 | 1.0205 | 1629 | 3.464% |  |  | 1629 | 0.98513 | -3.464% | Enter the concentrations of the standards and their instrument | 1 | 1596.3076 | 1629 | 1.0205 | 1.0414 | 1.0627 | 1662.3619 | [10 empty] | 0.97993 | 0.96026 | 0.00061387 | 3.7684e-07 | 1 | 1 | 1 | 1
0.19599 | 5.1024 | 8069 | -0.516% |  |  | 8069 | 5.1287 | 0.516% | readings (e.g. absorbance) into the blue table on the left. | 1 | 1581.4127 | 8069 | 5.1024 | 26.0345 | 132.8384 | 41171.2656 |  | Summary of equations: | [8 empty] | 0.19599 | 0.038411 | 0.00012393 | 1.5359e-08 | 0.2 | 0.04 | 0.20188 | 0.040757
0.097993 | 10.2048 | 16538 | -4.131% |  |  | 16538 | 10.6263 | 4.131% | Leave the rest of the table blank. You must have at least three | 1 | 1620.6099 | 16538 | 10.2048 | 104.1379 | 1062.7069 | 168766.9824 |  | n=number of x,y data points | [8 empty] | 0.097993 | 0.0096026 | 6.0467e-05 | 3.6562e-09 | 0.1 | 0.01 | 0.0985 | 0.0097023
0.019599 | 51.024 | 75001 | 1.563% |  |  | 75001 | 50.2264 | -1.563% | points on the calibration curve. Enter the weights for each point | 1 | 1469.9161 | 75001 | 51.024 | 2603.4486 | 132838.3601 | 3826851.024 |  | sumx=?x | [8 empty] | 0.019599 | 0.00038411 | 1.3333e-05 | 1.7777e-10 | 0.02 | 0.0004 | 0.02172 | 0.00047175
0.0097993 | 102.048 | 145267 | -0.385% |  |  | 145267 | 102.4408 | 0.385% | into Column A, or Copy and Paste from column AK to AN. To | 1 | 1423.5164 | 145267 | 102.048 | 10413.7943 | 1062706.8811 | 14824206.816 |  | sumy=?y | [8 empty] | 0.0097993 | 9.6026e-05 | 6.8839e-06 | 4.7388e-11 | 0.01 | 0.0001 | 0.011214 | 0.00012575
[9 empty] | remove a point, enter a weight of zero. If you have multiple | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | sumxy=?x*y | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | instrument readings for one standard, it's better to enter each | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | sumx2=?x*x | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | as a separate standard with the same concentration, rather than | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | sumx3=?x^3 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | entering the average. The spreadsheet automatically gives | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | sumx4=?x^4 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | more weight to standards that have more than one reading. | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | sumx2y=?(x^2)*y | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | Enter the instrument readings (e.g. intensity, absorbance, etc) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | of the unknowns into the yellow table on the right. You can | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | have any number of unknowns up to 200. (If you have multiple | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | instrument readings for one unknown, it's better to enter each | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | as a separate unknown, rather than averaging them, so you can | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | see how much variation in calculated concentration is produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | by the variation in instrument reading). | 0 | 0 | 0 | 0 | 0 | 0 | 0 | sums | sumx | sumy | sumxy | sumx2 | ssy | sumx4 | sumx2y |  | are not part of the actual numerical calculation. |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | The concentrations of the unknowns are automatically calculated | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5 | 7691.7627 | 246504 | 169.3997 | 13148.4567 | 1196741.8492 | 18862658.4499 |  | out cells that are not being used at the moment |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | and displayed column K. If you edit the calibration curve, by | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n | 1.3033 | (number of points (n) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | deleting, changing, or adding more calibration standards, the | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | concentrations are automatically recalculated. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D | 26392003.6053 | Denominator (D) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a= | -1.4226 | (coefficient of the X2 term; equals zero if best-fit line is straight) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | You can remove any point from the curve fit by deleting the | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b= | 1562.9023 | (coefficient of the X term, like the slope) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | corresponding values in the table. To delete a value; | 0 | 0 | 0 | 0 | 0 | 0 | 0 | c= | 90.7198 | (the constant, like the intercept) | [11 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | R2 = | 0.99977 |  |  |  | right-click on the cell and click "Delete Contents" or "Clear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | y= | -1.4226 | X^2 | + | 1562.9023 | x | + | 90.7198 | <== Equation of best fit. | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | Contents". The spreadsheet automatically re-calculates and | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[9 empty] | the graph re-draws; if it does not, press F9 to recalculate. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Weighted Calculation of R2 | [12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2) | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 18256151.6187 | 1684.149 |  | 2980.3711 |  | 17430935.0476 |  | 0.99977 | [5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4697094.7766 | 8028.2365 |  | 325.6625 |  | 886262.3227 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 113130413.8518 | 15891.6808 |  | 40934.5064 |  | 9779641.1125 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4774710247.1375 | 76132.6301 |  | 25097.7325 |  | 96667852.0164 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 19422680766.506 | 144767.3035 |  | 2446.8539 |  | 188966464.7232 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 0 | 0 |  | 0 |  | 0 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[18 empty] | 24333474673.8907 | 246504 |  | 71785.1264 |  | 313731155.2223 | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
Note on A5: Tom O'Haver: Type in values or Copy/Paste from Columns AK - AN.

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 1.0205 | 1684.149 | 1.0205 | 1684.149 | 55.149 | -0.00038095
2 | 3.041 | 4830.3975 | 5.1024 | 8028.2365 | -40.7635 | 0.00028158
3 | 5.0616 | 7965.0303 | 10.2048 | 15891.6808 | -646.3192 | 0.0044645
4 | 7.0821 | 11088.0474 | 51.024 | 76132.6301 | 1131.6301 | -0.0078169
5 | 9.1027 | 14199.4487 | 102.048 | 144767.3035 | -499.6965 | 0.0034517
6 | 11.1232 | 17299.2343 | #N/A | #N/A | #VALUE! | #N/A
7 | 13.1438 | 20387.4042 | #N/A | #N/A | #VALUE! | #N/A
8 | 15.1643 | 23463.9584 | #N/A | #N/A | #VALUE! | #N/A
9 | 17.1849 | 26528.8968 | #N/A | #N/A | #VALUE! | #N/A
10 | 19.2054 | 29582.2194 | #N/A | #N/A | #VALUE! | #N/A
11 | 21.226 | 32623.9264 | #N/A | #N/A | #VALUE! | #N/A
12 | 23.2465 | 35654.0176 | #N/A | #N/A | #VALUE! | #N/A
13 | 25.2671 | 38672.4931 | #N/A | #N/A | #VALUE! | #N/A
14 | 27.2876 | 41679.3528 | #N/A | #N/A | #VALUE! | #N/A
15 | 29.3082 | 44674.5968 | #N/A | #N/A | #VALUE! | #N/A
16 | 31.3287 | 47658.2251 | #N/A | #N/A | #VALUE! | #N/A
17 | 33.3493 | 50630.2377 | #N/A | #N/A | #VALUE! | #N/A
18 | 35.3698 | 53590.6345 | #N/A | #N/A | #VALUE! | #N/A
19 | 37.3904 | 56539.4156 | #N/A | #N/A | #VALUE! | #N/A
20 | 39.4109 | 59476.5809 | #N/A | #N/A | #VALUE! | #N/A
21 | 41.4315 | 62402.1306 | #N/A | #N/A | #VALUE! | #N/A
22 | 43.452 | 65316.0644 | #N/A | #N/A | #VALUE! | #N/A
23 | 45.4726 | 68218.3826 | #N/A | #N/A | #VALUE! | #N/A
24 | 47.4931 | 71109.085 | #N/A | #N/A | #VALUE! | #N/A
25 | 49.5137 | 73988.1717 | #N/A | #N/A | #VALUE! | #N/A
26 | 51.5342 | 76855.6427 | #N/A | #N/A | #VALUE! | #N/A
27 | 53.5548 | 79711.4979 | #N/A | #N/A | #VALUE! | #N/A
28 | 55.5753 | 82555.7374 | #N/A | #N/A | #VALUE! | #N/A
29 | 57.5959 | 85388.3611 | #N/A | #N/A | #VALUE! | #N/A
30 | 59.6164 | 88209.3692 | #N/A | #N/A | #VALUE! | #N/A
31 | 61.637 | 91018.7615 | #N/A | #N/A | #VALUE! | #N/A
32 | 63.6575 | 93816.538 | #N/A | #N/A | #VALUE! | #N/A
33 | 65.6781 | 96602.6989 | #N/A | #N/A | #VALUE! | #N/A
34 | 67.6986 | 99377.244 | #N/A | #N/A | #VALUE! | #N/A
35 | 69.7192 | 102140.1733 | #N/A | #N/A | #VALUE! | #N/A
36 | 71.7397 | 104891.487 | #N/A | #N/A | #VALUE! | #N/A
37 | 73.7603 | 107631.1849 | #N/A | #N/A | #VALUE! | #N/A
38 | 75.7808 | 110359.267 | #N/A | #N/A | #VALUE! | #N/A
39 | 77.8014 | 113075.7335 | #N/A | #N/A | #VALUE! | #N/A
40 | 79.8219 | 115780.5842 | #N/A | #N/A | #VALUE! | #N/A
41 | 81.8425 | 118473.8191 | #N/A | #N/A | #VALUE! | #N/A
42 | 83.863 | 121155.4384 | #N/A | #N/A | #VALUE! | #N/A
43 | 85.8836 | 123825.4419 | #N/A | #N/A | #VALUE! | #N/A
44 | 87.9041 | 126483.8296 | #N/A | #N/A | #VALUE! | #N/A
45 | 89.9247 | 129130.6017 | #N/A | #N/A | #VALUE! | #N/A
46 | 91.9452 | 131765.758 | #N/A | #N/A |  | #N/A
47 | 93.9658 | 134389.2986 | #N/A | #N/A |  | #N/A
48 | 95.9863 | 137001.2234 | #N/A | #N/A |  | #N/A
49 | 98.0069 | 139601.5325 | #N/A | #N/A |  | #N/A
50 | 102.048 | 144767.3035 | #N/A | #N/A |  | #N/A