## Sheet1
Simulation of the single standard addition method
| variable | value | description
| mo | 2 | Analytical curve slope without interference
| z | 0 | Interference factor (zero => no interference) | [8 empty] | .
| n | 0 | Analytical curve non-linearity (0 = linear)
| Ev | 0 | Random volumetric error (% RSD )
| Es | 0 | Signal measurement error (% RSD)
| Cx | 5 | Analyte concentration in original sample
| Cs | 20 | Concentration of standard solution
| Vss | 5 | Volume of standard added to sample
| Vxx | 10 | Volume of sample solution before addition
| blank | 0 | blank/background/spectral interference
Computed results
| Sx | 10 | Signal before addition of standard
| Ss | 20 | Signal after addition of standard
| C | 10 | Concentration after addition of standard
| m | 2 | Analytical curve slope in actual sample
| Vx | 10 | Actual sample volume taken originally
| Vs | 5 | Actual volume of standard added
| result | 5 | Calculated concentration of unknown
| error | 0% | % difference between result and true Cx
| Est. RSD | 0% | Predicted relative standard deviation of result
Statistics
100 | Mean | 5 | Average result of 20 repeat procedures
| s | 0 | Standard deviation of the 20 results
1000 | % RSD | 0% | Relative standard deviation of 20 results
| Error | 0% | % difference between mean and true Cx
50
0
| Step-by-Step Predicted Error Propagation of “result” |  |  | Pred. | Comparison to stats. of 20 repeats.
| value | s | Segment | % RSD | RSD 20 rpts | Ratio | correlated?
| 1000 | 0 | (Sx*Vss*Cs) | 0% | 0% | #DIV/0! | yes
| 15 | 0 | (Vxx+Vss) | 0% | 0% | #DIV/0! | no
| 300 | 0 | Ss*(Vxx+Vss) | 0% | 0% | #DIV/0! | no
| 100 | 0 | Sx*Vxx | 0% | 0% | #DIV/0! | no
| 200 | 0 | (Ss*(Vxx+Vss)-Sx*Vxx) | 0% | 0% | #DIV/0! | yes
| 5 | 0 | result=(Sx*Vss*Cs)/(Ss*(Vxx+Vss)-Sx*Vxx) | 0% | 0% | #DIV/0! | yes
| Graph |  |  |  | Statistics calculations |  |  | (Sx*Vss*Cs)/(Ss*(Vxx+Vss)-Sx*Vxx)
| Analytical curve (blue line) |  |  |  | Run number | result | Sx | Ss | C | Vx | Vs | (Sx*Vss*Cs) | (Vxx+Vss) | Ss*(Vxx+Vss) | Sx*Vxx | (Ss*(Vxx+Vss)-Sx*Vxx) | (Sx*Vss*Cs)/(Ss*(Vxx+Vss)-Sx*Vxx)
| 0 | 0 |  |  | 1 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 1 | 2 |  |  | 2 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 2 | 4 |  |  | 3 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 3 | 6 |  |  | 4 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 4 | 8 |  |  | 5 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 5 | 10 |  |  | 6 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 6 | 12 |  |  | 7 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 7 | 14 |  |  | 8 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 8 | 16 |  |  | 9 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 9 | 18 |  |  | 10 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 10 | 20 |  |  | 11 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| Concentration | Signal |  |  | 12 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| Calculated | Red |  |  | 13 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 5 | 10 |  |  | 14 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| After addition | Green |  |  | 15 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 10 | 20 |  |  | 16 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| Actual | Yellow |  |  | 17 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
| 5 | 10 |  |  | 18 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
[5 empty] | 19 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
[5 empty] | 20 | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
[5 empty] | Mean | 5 | 10 | 20 | 10 | 10 | 5 | 1000 | 15 | 300 | 100 | 200 | 5
[5 empty] | s | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | % RSD | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
[5 empty] | Accuracy | 0% | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Positive correlation detected
© Tom O'Haver (toh@umd.edu), August 2014