## Sheet1
Simulation of calibration with a single standard
| variable | value | description
| mo | 1 | Analytical curve slope without interference
| z | 0 | Interference factor (zero => no interference)
| n | 0 | Analytical curve non-linearity (0 = linear)
| Ev | 0 | Random volumetric error (% RSD )
| Es | 0 | Signal measurement error (% RSD)
| Cx | 5 | True analyte concentration in sample
| Cs | 10 | Concentration of standard solution 1
| blank | 0 | (Uncorrected) blank signal
Computed results
| Ss | 10 | Signal given by the standard
| Sx | 5 | Signal given by the unknown sample
| m | 1 | Analytical curve slope in actual sample
| result | 5 | Calculated concentration of unknown
| error | 0% | % difference between result and true Cx
| recovery | 100% | Relative % effect of interference on signal
| Est. RSD | 0% | Predicted relative standard deviation of result
Statistics
| Mean | 5 | Average result of 20 repeat measurements
90 | s | 0 | Standard deviation of the 20 results
| % RSD | 0% | Relative standard deviation of 20 results
90 | Error | 0% | % difference between mean and true Cx
52
Analytical curve (black line)
10 | 0 | 0
| 1 | 1
| 2 | 2
| 3 | 3
| 4 | 4
| 5 | 5
| 6 | 6
| 7 | 7
| 8 | 8
| 9 | 9
| 10 | 10
Sample signal reading (green line)
| 0 | 5
| 10 | 5
Calculated sample concentration (blue line)
| 5 | 0
| 5 | 5
|  |  |  | Statistics calculations |  |  | Ss | Cs | Sx | result
|  |  |  | Run number | result |  | 10 | 10 | 5 | 5
|  |  |  | 1 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 2 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 3 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 4 | 5 |  | 10 | 10 | 5 | 5
| Tom O'Haver (toh@umd.edu),August 2014 |  |  | 5 | 5 |  | 10 | 10 | 5 | 5
| http://terpconnect.umd.edu/~toh/ |  |  | 6 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 7 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 8 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 9 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 10 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 11 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 12 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 13 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 14 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 15 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 16 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 17 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 18 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 19 | 5 |  | 10 | 10 | 5 | 5
|  |  |  | 20 | 5
|  |  |  | Mean | 5 | 5
|  |  |  | s | 0
|  |  |  | % RSD | 0%
|  |  |  | Accuracy | 0%
Note on C68: Tom O'Haver: Predicted relative standard deviation of concnetration based on propagation of error calculations.
Note on C72: Tom O'Haver: Actual relative standard deviation of concnetration of this set of 20 repeats.