## Sheet1
Five Gaussian peaks with the same initial peak height (1.0) and width
(FWHM=3.0) but which are subsequently broadened by increasing degrees
of exponential broadening, similar to the broadening of peaks
commonly encountered in chromatography:
See http://terpconnect.umd.edu/~toh/spectrum/Integration.html
Model data set created ,with Matlab:
>> x=5:.1:65;
>> y=modelpeaks2(x,[1 5 5 5 5],[1 1 1 1 1],[10 20 30 40 50],[3 3 3 3 3],[0 -5 -10 -15 -20]);
>> [FitResults,FittingError]=peakfit([x;y],30,54,5,1,0,10)
|  |  | Fit with Gaussian |  |  | Fit with exponentially modified Gaussian
|  | Position | G Height | G Width | Perp. Drop area | EX Height | EX Width | EX Area
|  | 10 | 1.0045 | 2.9733 | 3.193 | 1.0001 | 2.9995 | 3.1929
|  | 20 | 0.94339 | 3.1559 | 3.194 | 0.99998 | 3.0005 | 3.1939
|  | 30 | 0.8341 | 3.5266 | 3.187 | 0.99987 | 3.0008 | 3.1939
|  | 40 | 0.73567 | 3.9207 | 3.178 | 0.99987 | 2.9997 | 3.1926
|  | 50 | 0.65288 | 4.3804 | 3.231 | 1.0006 | 2.9978 | 3.1207
Conclusion: Measurement of peak area (gray line) is less effected by exponential broadening of the peaks that is peak height (blue line)
because the decrease in peak height is approximately compensated by the increase in peak width (orange line).
However, if an exponentially broadened Gaussian model is fit to the data (e.g. using peakfit.m or ipf.m), the peak heights computed by curve fitting work well
and have the advantage of being more accurate than peak areas measured by perpendular drop when the peaks ovelap, as in the figure below.
See http://terpconnect.umd.edu/~toh/spectrum/Integration.html for details.