## Sheet1
Practical demonstration that sum(y)*dx predicts the area under a Gaussian
very accurately if there are at least 4 or 5 points on the curve that are visibly above zero.
You need a few more points if the peak shape is
dx | 0.1 | <<< Change dx from 0.1 to 1.1 and see how slowly the percent error (in red) increases. |  | Exponentially modified Gaussian
[5 empty] | specified | actual
Area | 1.7725 | Area computed by sum(y)*dx | Conclusion: The sampling rate must only be high enough | Height | 1 | 0.69475 | Area | Area ratio
Sqrt(pi) | 1.7725 | Theoretical area under EXP(-(y^2)) = sqrare root of Pi. | to put at least 4 or 5 points visibly above the baseline | Sigma | 0.70711 |  | 1.7725 | 1
Area error | 4.953e-07% | Percent difference between sum(t)*dx and sqrt(pi) | for the error in the area to be below 0.1%. | Position | 0 |  | Error | -5.188e-08%
Points above zero | 43 |  |  | Lambda | 1 |  | Points above zero | 72
x | Gaussian |  |  | EMG of the form $U$7*$U$9*SQRT(PI()/2)*EXP(0.5*($U$7*$U$9)^2-$U$9*(A12-$U$8))*ERFC((1/SQRT(2))*($U$7*$U$9-((A12-$U$8)/$U$7)))
-4 | 1.1254e-07 |  |  | 1.2216e-08
-3.9 | 2.4796e-07 |  |  | 2.75e-08
-3.8 | 5.3553e-07 |  |  | 6.0709e-08
-3.7 | 1.1337e-06 |  |  | 1.3143e-07
-3.6 | 2.3526e-06 |  |  | 2.7903e-07
-3.5 | 4.7851e-06 |  |  | 5.8097e-07
-3.4 | 9.5402e-06 |  |  | 1.1863e-06
-3.3 | 1.8644e-05 |  |  | 2.3758e-06
-3.2 | 3.5713e-05 |  |  | 4.6663e-06
-3.1 | 6.7055e-05 |  |  | 8.9891e-06
-3 | 0.00012341 |  |  | 1.6984e-05
-2.9 | 0.00022263 |  |  | 3.1476e-05
-2.8 | 0.00039367 |  |  | 5.7219e-05
-2.7 | 0.00068233 |  |  | 0.00010203
-2.6 | 0.0011592 |  |  | 0.00017847
-2.5 | 0.0019305 |  |  | 0.00030624
-2.4 | 0.0031511 |  |  | 0.00051552
-2.3 | 0.0050418 |  |  | 0.0008514
-2.2 | 0.0079071 |  |  | 0.0013796
-2.1 | 0.012155 | 1 |  | 0.0021934
-2 | 0.018316 | 1 |  | 0.0034218
-1.9 | 0.027052 | 1 |  | 0.0052383
-1.8 | 0.039164 | 1 |  | 0.0078698
-1.7 | 0.055576 | 1 |  | 0.011604 | 1
-1.6 | 0.077305 | 1 |  | 0.016793 | 1
-1.5 | 0.1054 | 1 |  | 0.023856 | 1
-1.4 | 0.14086 | 1 |  | 0.033269 | 1
-1.3 | 0.18452 | 1 |  | 0.045552 | 1
-1.2 | 0.23693 | 1 |  | 0.061241 | 1
-1.1 | 0.2982 | 1 |  | 0.080854 | 1
-1 | 0.36788 | 1 |  | 0.10484 | 1
-0.9 | 0.44486 | 1 |  | 0.13355 | 1
-0.8 | 0.52729 | 1 |  | 0.16713 | 1
-0.7 | 0.61263 | 1 |  | 0.20552 | 1
-0.6 | 0.69768 | 1 |  | 0.24839 | 1
-0.5 | 0.7788 | 1 |  | 0.29512 | 1
-0.4 | 0.85214 | 1 |  | 0.34477 | 1
-0.3 | 0.91393 | 1 |  | 0.39615 | 1
-0.2 | 0.96079 | 1 |  | 0.44782 | 1
-0.1 | 0.99005 | 1 |  | 0.4982 | 1
2.4147e-15 | 1 | 1 |  | 0.54564 | 1
0.1 | 0.99005 | 1 |  | 0.58856 | 1
0.2 | 0.96079 | 1 |  | 0.62549 | 1
0.3 | 0.91393 | 1 |  | 0.65527 | 1
0.4 | 0.85214 | 1 |  | 0.677 | 1
0.5 | 0.7788 | 1 |  | 0.69019 | 1
0.6 | 0.69768 | 1 |  | 0.69475 | 1
0.7 | 0.61263 | 1 |  | 0.69093 | 1
0.8 | 0.52729 | 1 |  | 0.67934 | 1
0.9 | 0.44486 | 1 |  | 0.66085 | 1
1 | 0.36788 | 1 |  | 0.63652 | 1
1.1 | 0.2982 | 1 |  | 0.60752 | 1
1.2 | 0.23693 | 1 |  | 0.57505 | 1
1.3 | 0.18452 | 1 |  | 0.54027 | 1
1.4 | 0.14086 | 1 |  | 0.50423 | 1
1.5 | 0.1054 | 1 |  | 0.46788 | 1
1.6 | 0.077305 | 1 |  | 0.43197 | 1
1.7 | 0.055576 | 1 |  | 0.39712 | 1
1.8 | 0.039164 | 1 |  | 0.36379 | 1
1.9 | 0.027052 | 1 |  | 0.33228 | 1
2 | 0.018316 | 1 |  | 0.30279 | 1
2.1 | 0.012155 | 1 |  | 0.2754 | 1
2.2 | 0.0079071 |  |  | 0.25013 | 1
2.3 | 0.0050418 |  |  | 0.22693 | 1
2.4 | 0.0031511 |  |  | 0.20572 | 1
2.5 | 0.0019305 |  |  | 0.18638 | 1
2.6 | 0.0011592 |  |  | 0.16879 | 1
2.7 | 0.00068233 |  |  | 0.15281 | 1
2.8 | 0.00039367 |  |  | 0.13832 | 1
2.9 | 0.00022263 |  |  | 0.12518 | 1
3 | 0.00012341 |  |  | 0.11329 | 1
3.1 | 6.7055e-05 |  |  | 0.10251 | 1
3.2 | 3.5713e-05 |  |  | 0.092763 | 1
3.3 | 1.8644e-05 |  |  | 0.083938 | 1
3.4 | 9.5402e-06 |  |  | 0.075952 | 1
3.5 | 4.7851e-06 |  |  | 0.068725 | 1
3.6 | 2.3526e-06 |  |  | 0.062185 | 1
3.7 | 1.1337e-06 |  |  | 0.056268 | 1
3.8 | 5.3553e-07 |  |  | 0.050913 | 1
3.9 | 2.4796e-07 |  |  | 0.046068 | 1
4 | 1.1254e-07 |  |  | 0.041684 | 1
4.1 | 5.0062e-08 |  |  | 0.037717 | 1
4.2 | 2.183e-08 |  |  | 0.034128 | 1
4.3 | 9.3303e-09 |  |  | 0.03088 | 1
4.4 | 3.9089e-09 |  |  | 0.027942 | 1
4.5 | 1.6052e-09 |  |  | 0.025283 | 1
4.6 | 6.4614e-10 |  |  | 0.022877 | 1
4.7 | 2.5494e-10 |  |  | 0.0207 | 1
4.8 | 9.8595e-11 |  |  | 0.01873 | 1
4.9 | 3.7376e-11 |  |  | 0.016947 | 1
5 | 1.3888e-11 |  |  | 0.015335 | 1
5.1 | 5.0583e-12 |  |  | 0.013875 | 1
5.2 | 1.8058e-12 |  |  | 0.012555 | 1
5.3 | 6.3193e-13 |  |  | 0.01136 | 1
5.4 | 2.1676e-13 |  |  | 0.010279 | 1
5.5 | 7.2877e-14 |  |  | 0.009301
5.6 | 2.4017e-14 |  |  | 0.0084159
5.7 | 7.7584e-15 |  |  | 0.007615
5.8 | 2.4566e-15 |  |  | 0.0068903
5.9 | 7.6245e-16 |  |  | 0.0062346
6 | 2.3195e-16 |  |  | 0.0056413
6.1 | 6.9168e-17 |  |  | 0.0051045
6.2 | 2.0217e-17 |  |  | 0.0046187
6.3 | 5.7923e-18 |  |  | 0.0041792
6.4 | 1.6267e-18 |  |  | 0.0037815
6.5 | 4.4777e-19 |  |  | 0.0034216
6.6 | 1.2082e-19 |  |  | 0.003096
6.7 | 3.1954e-20 |  |  | 0.0028014
6.8 | 8.2837e-21 |  |  | 0.0025348
6.9 | 2.1049e-21 |  |  | 0.0022936
7 | 5.2429e-22 |  |  | 0.0020753
7.1 | 1.28e-22 |  |  | 0.0018778
7.2 | 3.0632e-23 |  |  | 0.0016991
7.3 | 7.1853e-24 |  |  | 0.0015374
7.4 | 1.6521e-24 |  |  | 0.0013911
7.5 | 3.7234e-25 |  |  | 0.0012588
7.6 | 8.2253e-26 |  |  | 0.001139
7.7 | 1.7811e-26 |  |  | 0.0010306
7.8 | 3.7803e-27 |  |  | 0.00093251
7.9 | 7.8647e-28 |  |  | 0.00084377
8 | 1.6038e-28 |  |  | 0.00076347
8.1 | 3.2058e-29 |  |  | 0.00069082
8.2 | 6.2811e-30 |  |  | 0.00062508
8.3 | 1.2063e-30 |  |  | 0.00056559
8.4 | 2.2708e-31 |  |  | 0.00051177
8.5 | 4.1901e-32 |  |  | 0.00046307
8.6 | 7.5784e-33 |  |  | 0.000419
8.7 | 1.3435e-33 |  |  | 0.00037913
8.8 | 2.3347e-34 |  |  | 0.00034305
8.9 | 3.9768e-35 |  |  | 0.0003104
9 | 6.6397e-36 |  |  | 0.00028087
9.1 | 1.0866e-36 |  |  | 0.00025414
9.2 | 1.7431e-37 |  |  | 0.00022995
9.3 | 2.7408e-38 |  |  | 0.00020807
9.4 | 4.2242e-39 |  |  | 0.00018827
9.5 | 6.3815e-40 |  |  | 0.00017035
9.6 | 9.4498e-41 |  |  | 0.00015414
9.7 | 1.3716e-41 |  |  | 0.00013947
9.8 | 1.9515e-42 |  |  | 0.0001262
9.9 | 2.7214e-43 |  |  | 0.00011419
10 | 3.7201e-44 |  |  | 0.00010332
10.1 | 4.9845e-45 |  |  | 9.3492e-05
10.2 | 6.5464e-46 |  |  | 8.4595e-05
10.3 | 8.4275e-47 |  |  | 7.6545e-05
10.4 | 1.0634e-47 |  |  | 6.9261e-05
10.5 | 1.3153e-48 |  |  | 6.267e-05
10.6 | 1.5947e-49 |  |  | 5.6706e-05
10.7 | 1.8951e-50 |  |  | 5.1309e-05
10.8 | 2.2075e-51 |  |  | 4.6427e-05
10.9 | 2.5204e-52 |  |  | 4.2009e-05
11 | 2.8208e-53 |  |  | 3.8011e-05
11.1 | 3.0944e-54 |  |  | 3.4394e-05
11.2 | 3.3274e-55 |  |  | 3.1121e-05
11.3 | 3.507e-56 |  |  | 2.8159e-05
11.4 | 3.6232e-57 |  |  | 2.548e-05
11.5 | 3.6691e-58 |  |  | 2.3055e-05
11.6 | 3.642e-59 |  |  | 2.0861e-05
11.7 | 3.5435e-60 |  |  | 1.8876e-05
11.8 | 3.3794e-61 |  |  | 1.7079e-05
11.9 | 3.1591e-62 |  |  | 1.5454e-05
12 | 2.8946e-63 |  |  | 1.3983e-05
12.1 | 2.5998e-64 |  |  | 1.2653e-05
12.2 | 2.2888e-65 |  |  | 1.1449e-05
12.3 | 1.9751e-66 |  |  | 1.0359e-05
12.4 | 1.6706e-67 |  |  | 9.3734e-06
12.5 | 1.3851e-68 |  |  | 8.4814e-06
12.6 | 1.1257e-69 |  |  | 7.6743e-06
12.7 | 8.9669e-71 |  |  | 6.944e-06
12.8 | 7.0015e-72 |  |  | 6.2832e-06
12.9 | 5.3586e-73 |  |  | 5.6853e-06
13 | 4.0201e-74 |  |  | 5.1442e-06
13.1 | 2.9561e-75 |  |  | 4.6547e-06
13.2 | 2.1307e-76 |  |  | 4.2117e-06
13.3 | 1.5054e-77 |  |  | 3.8109e-06
13.4 | 1.0425e-78 |  |  | 3.4483e-06
13.5 | 7.0767e-80 |  |  | 3.1201e-06
13.6 | 4.7086e-81 |  |  | 2.8232e-06
13.7 | 3.0709e-82 |  |  | 2.5545e-06
13.8 | 1.9632e-83 |  |  | 2.3115e-06
13.9 | 1.2302e-84 |  |  | 2.0915e-06
14 | 7.5558e-86 |  |  | 1.8925e-06
14.1 | 4.549e-87 |  |  | 1.7124e-06
14.2 | 2.6845e-88 |  |  | 1.5494e-06
14.3 | 1.5528e-89 |  |  | 1.402e-06
14.4 | 8.8043e-91 |  |  | 1.2686e-06
14.5 | 4.8931e-92 |  |  | 1.1478e-06
14.6 | 2.6656e-93 |  |  | 1.0386e-06
14.7 | 1.4233e-94 |  |  | 9.3977e-07
14.8 | 7.4497e-96 |  |  | 8.5034e-07
14.9 | 3.8219e-97 |  |  | 7.6942e-07
15 | 1.9219e-98 |  |  | 6.962e-07
15.1 | 9.4736e-100 |  |  | 6.2994e-07
15.2 | 4.5772e-101 |  |  | 5.7e-07
15.3 | 2.1677e-102 |  |  | 5.1575e-07
15.4 | 1.0063e-103 |  |  | 4.6667e-07
15.5 | 4.5788e-105 |  |  | 4.2226e-07
15.6 | 2.0422e-106 |  |  | 3.8208e-07
15.7 | 8.928e-108 |  |  | 3.4572e-07
15.8 | 3.8258e-109 |  |  | 3.1282e-07
15.9 | 1.607e-110 |  |  | 2.8305e-07
16 | 6.6163e-112 |  |  | 2.5612e-07
16.1 | 2.6701e-113 |  |  | 2.3174e-07
16.2 | 1.0562e-114 |  |  | 2.0969e-07
16.3 | 4.0954e-116 |  |  | 1.8974e-07
16.4 | 1.5565e-117 |  |  | 1.7168e-07
16.5 | 5.7987e-119 |  |  | 1.5534e-07
16.6 | 2.1174e-120 |  |  | 1.4056e-07
16.7 | 7.579e-122 |  |  | 1.2718e-07
16.8 | 2.659e-123 |  |  | 1.1508e-07
16.9 | 9.1444e-125 |  |  | 1.0413e-07
17 | 3.0824e-126 |  |  | 9.422e-08
17.1 | 1.0185e-127 |  |  | 8.5254e-08
17.2 | 3.2985e-129 |  |  | 7.7141e-08
17.3 | 1.0471e-130 |  |  | 6.98e-08
17.4 | 3.2584e-132 |  |  | 6.3157e-08
17.5 | 9.9384e-134 |  |  | 5.7147e-08
17.6 | 2.9713e-135 |  |  | 5.1709e-08
17.7 | 8.7073e-137 |  |  | 4.6788e-08
17.8 | 2.5011e-138 |  |  | 4.2336e-08
17.9 | 7.0421e-140 |  |  | 3.8307e-08
18 | 1.9435e-141 |  |  | 3.4662e-08
18.1 | 5.2576e-143 |  |  | 3.1363e-08
18.2 | 1.3941e-144 |  |  | 2.8378e-08
18.3 | 3.6234e-146 |  |  | 2.5678e-08
18.4 | 9.2312e-148 |  |  | 2.3234e-08
18.5 | 2.3052e-149 |  |  | 2.1023e-08
18.6 | 5.6426e-151 |  |  | 1.9023e-08
18.7 | 1.3538e-152 |  |  | 1.7212e-08
18.8 | 3.1839e-154 |  |  | 1.5574e-08
18.9 | 7.3395e-156 |  |  | 1.4092e-08
19 | 1.6584e-157 |  |  | 1.2751e-08
19.1 | 3.6731e-159 |  |  | 1.1538e-08
19.2 | 7.9741e-161 |  |  | 1.044e-08
19.3 | 1.6969e-162 |  |  | 9.4464e-09
19.4 | 3.5394e-164 |  |  | 8.5474e-09
19.5 | 7.2364e-166 |  |  | 7.734e-09
19.6 | 1.4502e-167 |  |  | 6.998e-09
19.7 | 2.8488e-169 |  |  | 6.3321e-09
19.8 | 5.4852e-171 |  |  | 5.7295e-09
19.9 | 1.0352e-172 |  |  | 5.1843e-09
20 | 1.9152e-174 |  |  | 4.6909e-09
20.1 | 3.4729e-176 |  |  | 4.2445e-09
20.2 | 6.1728e-178 |  |  | 3.8406e-09
20.3 | 1.0754e-179 |  |  | 3.4751e-09
20.4 | 1.8366e-181 |  |  | 3.1444e-09
20.5 | 3.0743e-183 |  |  | 2.8452e-09
20.6 | 5.0442e-185 |  |  | 2.5744e-09
20.7 | 8.1126e-187 |  |  | 2.3294e-09
20.8 | 1.2789e-188 |  |  | 2.1078e-09
20.9 | 1.9762e-190 |  |  | 1.9072e-09
21 | 2.9932e-192 |  |  | 1.7257e-09
21.1 | 4.4438e-194 |  |  | 1.5615e-09
21.2 | 6.4668e-196 |  |  | 1.4129e-09
21.3 | 9.2244e-198 |  |  | 1.2784e-09
21.4 | 1.2897e-199 |  |  | 1.1568e-09
21.5 | 1.7676e-201 |  |  | 1.0467e-09
21.6 | 2.3745e-203 |  |  | 9.4708e-10
21.7 | 3.1266e-205 |  |  | 8.5696e-10
21.8 | 4.0354e-207 |  |  | 7.7541e-10
21.9 | 5.1053e-209 |  |  | 7.0162e-10
22 | 6.331e-211 |  |  | 6.3485e-10
22.1 | 7.6954e-213 |  |  | 5.7443e-10
22.2 | 9.1687e-215 |  |  | 5.1977e-10
22.3 | 1.0708e-216 |  |  | 4.7031e-10
22.4 | 1.2257e-218 |  |  | 4.2555e-10
22.5 | 1.3754e-220 |  |  | 3.8505e-10
22.6 | 1.5127e-222 |  |  | 3.4841e-10
22.7 | 1.6308e-224 |  |  | 3.1526e-10
22.8 | 1.7233e-226 |  |  | 2.8526e-10
22.9 | 1.785e-228 |  |  | 2.5811e-10
23 | 1.8123e-230 |  |  | 2.3355e-10
23.1 | 1.8035e-232 |  |  | 2.1132e-10
23.2 | 1.7593e-234 |  |  | 1.9121e-10
23.3 | 1.6822e-236 |  |  | 1.7302e-10
23.4 | 1.5766e-238 |  |  | 1.5655e-10
23.5 | 1.4483e-240 |  |  | 1.4165e-10
23.6 | 1.3042e-242 |  |  | 1.2817e-10
23.7 | 1.1512e-244 |  |  | 1.1598e-10
23.8 | 9.9594e-247 |  |  | 1.0494e-10
23.9 | 8.446e-249 |  |  | 9.4953e-11
24 | 7.0207e-251 |  |  | 8.5917e-11
24.1 | 5.7203e-253 |  |  | 7.7741e-11
24.2 | 4.5686e-255 |  |  | 7.0343e-11
24.3 | 3.5764e-257 |  |  | 6.3649e-11
24.4 | 2.7443e-259 |  |  | 5.7592e-11
24.5 | 2.0641e-261 |  |  | 5.2112e-11
24.6 | 1.5218e-263 |  |  | 4.7152e-11
24.7 | 1.0997e-265 |  |  | 4.2665e-11
24.8 | 7.7897e-268 |  |  | 3.8605e-11
24.9 | 5.4085e-270 |  |  | 3.4931e-11
25 | 3.6809e-272 |  |  | 3.1607e-11
25.1 | 2.4555e-274 |  |  | 2.8599e-11
25.2 | 1.6056e-276 |  |  | 2.5878e-11
25.3 | 1.0291e-278 |  |  | 2.3415e-11
25.4 | 6.4651e-281 |  |  | 2.1187e-11
25.5 | 3.9812e-283 |  |  | 1.9171e-11
25.6 | 2.4031e-285 |  |  | 1.7346e-11
25.7 | 1.4218e-287 |  |  | 1.5696e-11
25.8 | 8.2456e-290 |  |  | 1.4202e-11
25.9 | 4.6873e-292 |  |  | 1.2851e-11
26 | 2.6117e-294 |  |  | 1.1628e-11
26.1 | 1.4264e-296 |  |  | 1.0521e-11
26.2 | 7.6365e-299 |  |  | 9.5199e-12
26.3 | 4.0073e-301 |  |  | 8.614e-12
26.4 | 2.0612e-303 |  |  | 7.7942e-12
26.5 | 1.0392e-305 |  |  | 7.0525e-12
26.6 | 5.1357e-308 |  |  | 6.3814e-12
26.7 | 0 |  |  | 5.7741e-12
26.8 | 0 |  |  | 5.2246e-12
26.9 | 0 |  |  | 4.7275e-12
27 | 0 |  |  | 4.2776e-12
27.1 | 0 |  |  | 3.8705e-12
27.2 | 0 |  |  | 3.5022e-12
27.3 | 0 |  |  | 3.1689e-12
27.4 | 0 |  |  | 2.8673e-12
27.5 | 0 |  |  | 2.5945e-12
27.6 | 0 |  |  | 2.3476e-12
27.7 | 0 |  |  | 2.1242e-12
27.8 | 0 |  |  | 1.922e-12
27.9 | 0 |  |  | 1.7391e-12
28 | 0 |  |  | 1.5736e-12
28.1 | 0 |  |  | 1.4239e-12
28.2 | 0 |  |  | 1.2884e-12
28.3 | 0 |  |  | 1.1658e-12
28.4 | 0 |  |  | 1.0548e-12
28.5 | 0 |  |  | 9.5446e-13
28.6 | 0 |  |  | 8.6363e-13
28.7 | 0 |  |  | 7.8144e-13
28.8 | 0 |  |  | 7.0708e-13
28.9 | 0 |  |  | 6.3979e-13
29 | 0 |  |  | 5.7891e-13
29.1 | 0 |  |  | 5.2382e-13
29.2 | 0 |  |  | 4.7397e-13
29.3 | 0 |  |  | 4.2886e-13
29.4 | 0 |  |  | 3.8805e-13
29.5 | 0 |  |  | 3.5112e-13
29.6 | 0 |  |  | 3.1771e-13
29.7 | 0 |  |  | 2.8748e-13
29.8 | 0 |  |  | 2.6012e-13
29.9 | 0 |  |  | 2.3537e-13
30 | 0 |  |  | 2.1297e-13
30.1 | 0 |  |  | 1.927e-13
30.2 | 0 |  |  | 1.7436e-13
30.3 | 0 |  |  | 1.5777e-13
30.4 | 0 |  |  | 1.4276e-13
30.5 | 0 |  |  | 1.2917e-13
30.6 | 0 |  |  | 1.1688e-13
30.7 | 0 |  |  | 1.0576e-13
30.8 | 0 |  |  | 9.5693e-14
30.9 | 0 |  |  | 8.6586e-14
31 | 0 |  |  | 7.8347e-14
31.1 | 0 |  |  | 7.0891e-14
31.2 | 0 |  |  | 6.4145e-14
31.3 | 0 |  |  | 5.8041e-14
31.4 | 0 |  |  | 5.2517e-14
31.5 | 0 |  |  | 4.752e-14
31.6 | 0 |  |  | 4.2997e-14
31.7 | 0 |  |  | 3.8906e-14
31.8 | 0 |  |  | 3.5203e-14
31.9 | 0 |  |  | 3.1853e-14
32 | 0 |  |  | 2.8822e-14
32.1 | 0 |  |  | 2.6079e-14
32.2 | 0 |  |  | 2.3598e-14
32.3 | 0 |  |  | 2.1352e-14
32.4 | 0 |  |  | 1.932e-14
32.5 | 0 |  |  | 1.7481e-14
32.6 | 0 |  |  | 1.5818e-14
32.7 | 0 |  |  | 1.4313e-14
32.8 | 0 |  |  | 1.2951e-14
32.9 | 0 |  |  | 1.1718e-14
33 | 0 |  |  | 1.0603e-14
33.1 | 0 |  |  | 9.594e-15
33.2 | 0 |  |  | 8.681e-15
33.3 | 0 |  |  | 7.8549e-15
33.4 | 0 |  |  | 7.1074e-15
33.5 | 0 |  |  | 6.4311e-15
33.6 | 0 |  |  | 5.8191e-15
33.7 | 0 |  |  | 5.2653e-15
33.8 | 0 |  |  | 4.7643e-15
33.9 | 0 |  |  | 4.3109e-15
34 | 0 |  |  | 3.9006e-15
34.1 | 0 |  |  | 3.5294e-15
34.2 | 0 |  |  | 3.1936e-15
34.3 | 0 |  |  | 2.8897e-15
34.4 | 0 |  |  | 2.6147e-15
34.5 | 0 |  |  | 2.3659e-15
34.6 | 0 |  |  | 2.1407e-15
34.7 | 0 |  |  | 1.937e-15
34.8 | 0 |  |  | 1.7527e-15
34.9 | 0 |  |  | 1.5859e-15
35 | 0 |  |  | 1.435e-15
35.1 | 0 |  |  | 1.2984e-15
35.2 | 0 |  |  | 1.1749e-15
35.3 | 0 |  |  | 1.063e-15
35.4 | 0 |  |  | 9.6189e-16
35.5 | 0 |  |  | 8.7035e-16
35.6 | 0 |  |  | 7.8753e-16
35.7 | 0 |  |  | 7.1258e-16
35.8 | 0 |  |  | 6.4477e-16
35.9 | 0 |  |  | 5.8341e-16
36 | 0 |  |  | 5.2789e-16
36.1 | 0 |  |  | 4.7766e-16
36.2 | 0 |  |  | 4.322e-16
36.3 | 0 |  |  | 3.9107e-16
36.4 | 0 |  |  | 3.5386e-16
36.5 | 0 |  |  | 3.2018e-16
36.6 | 0 |  |  | 2.8971e-16
36.7 | 0 |  |  | 2.6214e-16
36.8 | 0 |  |  | 2.372e-16
36.9 | 0 |  |  | 2.1463e-16
37 | 0 |  |  | 1.942e-16
37.1 | 0 |  |  | 1.7572e-16
37.2 | 0 |  |  | 1.59e-16
37.3 | 0 |  |  | 1.4387e-16
37.4 | 0 |  |  | 1.3018e-16
37.5 | 0 |  |  | 1.1779e-16
37.6 | 0 |  |  | 1.0658e-16
37.7 | 0 |  |  | 9.6438e-17
37.8 | 0 |  |  | 8.726e-17
37.9 | 0 |  |  | 7.8956e-17
38 | 0 |  |  | 7.1443e-17
38.1 | 0 |  |  | 6.4644e-17
38.2 | 0 |  |  | 5.8492e-17
38.3 | 0 |  |  | 5.2926e-17
38.4 | 0 |  |  | 4.789e-17
38.5 | 0 |  |  | 4.3332e-17
38.6 | 0 |  |  | 3.9209e-17
38.7 | 0 |  |  | 3.5477e-17
38.8 | 0 |  |  | 3.2101e-17
38.9 | 0 |  |  | 2.9046e-17
39 | 0 |  |  | 2.6282e-17
39.1 | 0 |  |  | 2.3781e-17
39.2 | 0 |  |  | 2.1518e-17
39.3 | 0 |  |  | 1.947e-17
39.4 | 0 |  |  | 1.7618e-17
39.5 | 0 |  |  | 1.5941e-17
39.6 | 0 |  |  | 1.4424e-17
39.7 | 0 |  |  | 1.3051e-17
39.8 | 0 |  |  | 1.1809e-17
39.9 | 0 |  |  | 1.0686e-17
40 | 0 |  |  | 9.6687e-18
40.1 | 0 |  |  | 8.7486e-18
40.2 | 0 |  |  | 7.9161e-18
40.3 | 0 |  |  | 7.1628e-18
40.4 | 0 |  |  | 6.4811e-18
40.5 | 0 |  |  | 5.8644e-18
40.6 | 0 |  |  | 5.3063e-18
40.7 | 0 |  |  | 4.8013e-18
40.8 | 0 |  |  | 4.3444e-18
40.9 | 0 |  |  | 3.931e-18
41 | 0 |  |  | 3.5569e-18
41.1 | 0 |  |  | 3.2184e-18
41.2 | 0 |  |  | 2.9122e-18
41.3 | 0 |  |  | 2.635e-18
41.4 | 0 |  |  | 2.3843e-18
41.5 | 0 |  |  | 2.1574e-18
41.6 | 0 |  |  | 1.9521e-18
41.7 | 0 |  |  | 1.7663e-18
41.8 | 0 |  |  | 1.5982e-18
41.9 | 0 |  |  | 1.4461e-18
42 | 0 |  |  | 1.3085e-18
42.1 | 0 |  |  | 1.184e-18
42.2 | 0 |  |  | 1.0713e-18
42.3 | 0 |  |  | 9.6938e-19
42.4 | 0 |  |  | 8.7713e-19
42.5 | 0 |  |  | 7.9366e-19
42.6 | 0 |  |  | 7.1813e-19
42.7 | 0 |  |  | 6.4979e-19
42.8 | 0 |  |  | 5.8796e-19
42.9 | 0 |  |  | 5.32e-19
43 | 0 |  |  | 4.8138e-19
43.1 | 0 |  |  | 4.3557e-19
43.2 | 0 |  |  | 3.9412e-19
43.3 | 0 |  |  | 3.5661e-19
43.4 | 0 |  |  | 3.2268e-19
43.5 | 0 |  |  | 2.9197e-19
43.6 | 0 |  |  | 2.6419e-19
43.7 | 0 |  |  | 2.3905e-19
43.8 | 0 |  |  | 2.163e-19
43.9 | 0 |  |  | 1.9571e-19
44 | 0 |  |  | 1.7709e-19
44.1 | 0 |  |  | 1.6024e-19
44.2 | 0 |  |  | 1.4499e-19
44.3 | 0 |  |  | 1.3119e-19
44.4 | 0 |  |  | 1.1871e-19
44.5 | 0 |  |  | 1.0741e-19
44.6 | 0 |  |  | 9.7188e-20
44.7 | 0 |  |  | 8.794e-20
44.8 | 0 |  |  | 7.9571e-20
44.9 | 0 |  |  | 7.1999e-20
45 | 0 |  |  | 6.5147e-20
45.1 | 0 |  |  | 5.8948e-20
45.2 | 0 |  |  | 5.3338e-20
45.3 | 0 |  |  | 4.8262e-20
45.4 | 0 |  |  | 4.367e-20
45.5 | 0 |  |  | 3.9514e-20
45.6 | 0 |  |  | 3.5754e-20
45.7 | 0 |  |  | 3.2351e-20
45.8 | 0 |  |  | 2.9273e-20
45.9 | 0 |  |  | 2.6487e-20
46 | 0 |  |  | 2.3966e-20
46.1 | 0 |  |  | 2.1686e-20
46.2 | 0 |  |  | 1.9622e-20
46.3 | 0 |  |  | 1.7755e-20
46.4 | 0 |  |  | 1.6065e-20
46.5 | 0 |  |  | 1.4536e-20
46.6 | 0 |  |  | 1.3153e-20
46.7 | 0 |  |  | 1.1901e-20
46.8 | 0 |  |  | 1.0769e-20
46.9 | 0 |  |  | 9.744e-21
47 | 0 |  |  | 8.8167e-21
47.1 | 0 |  |  | 7.9777e-21
47.2 | 0 |  |  | 7.2185e-21
47.3 | 0 |  |  | 6.5316e-21
47.4 | 0 |  |  | 5.91e-21
47.5 | 0 |  |  | 5.3476e-21
47.6 | 0 |  |  | 4.8387e-21
47.7 | 0 |  |  | 4.3783e-21
47.8 | 0 |  |  | 3.9616e-21
47.9 | 0 |  |  | 3.5846e-21
48 | 0 |  |  | 3.2435e-21
48.1 | 0 |  |  | 2.9348e-21
48.2 | 0 |  |  | 2.6556e-21
48.3 | 0 |  |  | 2.4028e-21
48.4 | 0 |  |  | 2.1742e-21
48.5 | 0 |  |  | 1.9673e-21
48.6 | 0 |  |  | 1.7801e-21
48.7 | 0 |  |  | 1.6107e-21
48.8 | 0 |  |  | 1.4574e-21
48.9 | 0 |  |  | 1.3187e-21
49 | 0 |  |  | 1.1932e-21
49.1 | 0 |  |  | 1.0797e-21
49.2 | 0 |  |  | 9.7692e-22
49.3 | 0 |  |  | 8.8396e-22
49.4 | 0 |  |  | 7.9984e-22
49.5 | 0 |  |  | 7.2372e-22
49.6 | 0 |  |  | 6.5485e-22
49.7 | 0 |  |  | 5.9253e-22
49.8 | 0 |  |  | 5.3615e-22
49.9 | 0 |  |  | 4.8513e-22
50 | 0 |  |  | 4.3896e-22
50.1 | 0 |  |  | 3.9719e-22
50.2 | 0 |  |  | 3.5939e-22
50.3 | 0 |  |  | 3.2519e-22
50.4 | 0 |  |  | 2.9424e-22
50.5 | 0 |  |  | 2.6624e-22
50.6 | 0 |  |  | 2.4091e-22
50.7 | 0 |  |  | 2.1798e-22
50.8 | 0 |  |  | 1.9724e-22
50.9 | 0 |  |  | 1.7847e-22
51 | 0 |  |  | 1.6148e-22
51.1 | 0 |  |  | 1.4612e-22
51.2 | 0 |  |  | 1.3221e-22
51.3 | 0 |  |  | 1.1963e-22
51.4 | 0 |  |  | 1.0825e-22
51.5 | 0 |  |  | 9.7945e-23
51.6 | 0 |  |  | 8.8624e-23
51.7 | 0 |  |  | 8.0191e-23
51.8 | 0 |  |  | 7.256e-23
51.9 | 0 |  |  | 6.5655e-23
52 | 0 |  |  | 5.9407e-23
52.1 | 0 |  |  | 5.3753e-23
52.2 | 0 |  |  | 4.8638e-23
52.3 | 0 |  |  | 4.401e-23
52.4 | 0 |  |  | 3.9822e-23
52.5 | 0 |  |  | 3.6032e-23
52.6 | 0 |  |  | 3.2603e-23
52.7 | 0 |  |  | 2.95e-23
52.8 | 0 |  |  | 2.6693e-23
52.9 | 0 |  |  | 2.4153e-23
53 | 0 |  |  | 2.1855e-23
53.1 | 0 |  |  | 1.9775e-23
53.2 | 0 |  |  | 1.7893e-23
53.3 | 0 |  |  | 1.619e-23
53.4 | 0 |  |  | 1.465e-23
53.5 | 0 |  |  | 1.3255e-23
53.6 | 0 |  |  | 1.1994e-23
53.7 | 0 |  |  | 1.0853e-23
53.8 | 0 |  |  | 9.8199e-24
53.9 | 0 |  |  | 8.8854e-24
54 | 0 |  |  | 8.0398e-24
54.1 | 0 |  |  | 7.2747e-24
54.2 | 0 |  |  | 6.5825e-24
54.3 | 0 |  |  | 5.956e-24
54.4 | 0 |  |  | 5.3893e-24
54.5 | 0 |  |  | 4.8764e-24
54.6 | 0 |  |  | 4.4123e-24
54.7 | 0 |  |  | 3.9925e-24
54.8 | 0 |  |  | 3.6125e-24
54.9 | 0 |  |  | 3.2687e-24
55 | 0 |  |  | 2.9577e-24
55.1 | 0 |  |  | 2.6762e-24
55.2 | 0 |  |  | 2.4215e-24
55.3 | 0 |  |  | 2.1911e-24
55.4 | 0 |  |  | 1.9826e-24
55.5 | 0 |  |  | 1.7939e-24
55.6 | 0 |  |  | 1.6232e-24
55.7 | 0 |  |  | 1.4687e-24
55.8 | 0 |  |  | 1.329e-24
55.9 | 0 |  |  | 1.2025e-24
56 | 0 |  |  | 1.0881e-24
56.1 | 0 |  |  | 9.8453e-25
56.2 | 0 |  |  | 8.9084e-25
56.3 | 0 |  |  | 8.0606e-25
56.4 | 0 |  |  | 7.2936e-25
56.5 | 0 |  |  | 6.5995e-25
56.6 | 0 |  |  | 5.9715e-25
56.7 | 0 |  |  | 5.4032e-25
56.8 | 0 |  |  | 4.889e-25
56.9 | 0 |  |  | 4.4238e-25
57 | 0 |  |  | 4.0028e-25
57.1 | 0 |  |  | 3.6219e-25
57.2 | 0 |  |  | 3.2772e-25
57.3 | 0 |  |  | 2.9653e-25
57.4 | 0 |  |  | 2.6832e-25
57.5 | 0 |  |  | 2.4278e-25
57.6 | 0 |  |  | 2.1968e-25
57.7 | 0 |  |  | 1.9877e-25
57.8 | 0 |  |  | 1.7986e-25
57.9 | 0 |  |  | 1.6274e-25
58 | 0 |  |  | 1.4725e-25
58.1 | 0 |  |  | 1.3324e-25
58.2 | 0 |  |  | 1.2056e-25
58.3 | 0 |  |  | 1.0909e-25
58.4 | 0 |  |  | 9.8708e-26
58.5 | 0 |  |  | 8.9314e-26
58.6 | 0 |  |  | 8.0815e-26
58.7 | 0 |  |  | 7.3124e-26
58.8 | 0 |  |  | 6.6166e-26
58.9 | 0 |  |  | 5.9869e-26
59 | 0 |  |  | 5.4172e-26
59.1 | 0 |  |  | 4.9017e-26
59.2 | 0 |  |  | 4.4352e-26
59.3 | 0 |  |  | 4.0132e-26
59.4 | 0 |  |  | 3.6313e-26
59.5 | 0 |  |  | 3.2857e-26
59.6 | 0 |  |  | 2.973e-26
59.7 | 0 |  |  | 2.6901e-26
59.8 | 0 |  |  | 2.4341e-26
59.9 | 0 |  |  | 2.2025e-26
60 | 0 |  |  | 1.9929e-26
60.1 | 0 |  |  | 1.8032e-26
60.2 | 0 |  |  | 1.6316e-26
60.3 | 0 |  |  | 1.4764e-26
60.4 | 0 |  |  | 1.3359e-26
60.5 | 0 |  |  | 1.2087e-26
60.6 | 0 |  |  | 1.0937e-26
60.7 | 0 |  |  | 9.8963e-27
60.8 | 0 |  |  | 8.9546e-27
60.9 | 0 |  |  | 8.1024e-27
61 | 0 |  |  | 7.3314e-27
61.1 | 0 |  |  | 6.6337e-27
61.2 | 0 |  |  | 6.0024e-27
61.3 | 0 |  |  | 5.4312e-27
61.4 | 0 |  |  | 4.9144e-27
61.5 | 0 |  |  | 4.4467e-27
61.6 | 0 |  |  | 4.0235e-27
61.7 | 0 |  |  | 3.6407e-27
61.8 | 0 |  |  | 3.2942e-27
61.9 | 0 |  |  | 2.9807e-27
62 | 0 |  |  | 2.6971e-27
62.1 | 0 |  |  | 2.4404e-27
62.2 | 0 |  |  | 2.2082e-27
62.3 | 0 |  |  | 1.998e-27
62.4 | 0 |  |  | 1.8079e-27
62.5 | 0 |  |  | 1.6358e-27
62.6 | 0 |  |  | 1.4802e-27
62.7 | 0 |  |  | 1.3393e-27
62.8 | 0 |  |  | 1.2119e-27
62.9 | 0 |  |  | 1.0965e-27
63 | 0 |  |  | 9.9219e-28
63.1 | 0 |  |  | 8.9777e-28
63.2 | 0 |  |  | 8.1234e-28
63.3 | 0 |  |  | 7.3503e-28
63.4 | 0 |  |  | 6.6509e-28
63.5 | 0 |  |  | 6.018e-28
63.6 | 0 |  |  | 5.4453e-28
63.7 | 0 |  |  | 4.9271e-28
63.8 | 0 |  |  | 4.4582e-28
63.9 | 0 |  |  | 4.034e-28