## Sheet1
| Peak detection and measurement |  |  |  |  | You may type or paste into the green cells | [12 empty] | Tom O'Haver (toh@umd.edu), 2013
Place your x,y data in column A and B, rows 8 to 263. You can Copy and Paste your own data there.
Amplitude threshold | 0.9 | Slope threshold | 0.3 |  |  |  |  | Change the smooth width by changing these 17 coefficients in row 5, columns J through Z. | [16 empty] | Change the smooth width by changing the 17 coefficients in row 5, columns J through Z.
Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | [7 empty] | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Extend the spreadsheet to longer columns of data by dragging the last row of columns A through K as needed.
|  |  |  | Peak detection criteria |  |  | Coefficients ----> | 0 | 0 | 0 | 0 | -3 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 3 | 0 | 0 | 0 | 0 | [6 empty] | Measured peak parameters
Original | data | First derivative |  | Signal greater than amplitude threshold? | Down zero crossing in first derivative? | Crossing slope greater than slope threshold? | All three conditions met? Peak detected! | # of peaks so far | Peak # |  | Peak parameters measured by least-squares are listed in the table in columns AH-AK | [19 empty] | peak height | peak x position | peak width (FWHM) | Interval between peaks
X | Y | [14 empty] | 0 | peaks found | [8 empty] | peak# | match | row # | sheet
|  | 0 |  | 0 | [21 empty] | 1 | #N/A | 0 | 2 | Sheet2!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 2 | #N/A | 0 | 3 | Sheet3!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 3 | #N/A | 0 | 4 | Sheet4!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 4 | #N/A | 0 | 5 | Sheet5!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 5 | #N/A | 0 | 6 | Sheet6!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 6 | #N/A | 0 | 7 | Sheet7!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 7 | #N/A | 0 | 8 | Sheet8!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 8 | #N/A | 0 | 9 | Sheet9!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 9 | #N/A | 0 | 10 | Sheet10!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 10 | #N/A | 0 | 11 | Sheet11!
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Note on B8: Tom: In this example, the x,y signal data in column A and B, rows 8 to 263, are calculated by formula. You can change the signal parameters in column AC, rows 2-4.
Note on D8: Tom: This column calculates the smoothed derivative of the original data in Column A
Note on K8: Tom O'Haver: This column calculates the peak number of each peak that is detected.

## Sheet2
Peak 1
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum of.. | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)
Summary of equations:
Cell B28 | n=number of x,y data points
Cell B27 | sumx=Σx
Cell C27 | sumy=Σy
Cell D27 | sumxy=Σx*y
Cell E27 | sumx2=Σx*x
Cell F27 | sumx3=Σx^3
Cell G27 | sumx3=Σx^4
Cell H27 | sumx2y=Σ(x^2)*y
Cell B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
Cell B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
Cell B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
Cell B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
Calculated Gaussian parameters:
Cell K7 | Height = EXP(c-a*(b/(2*a))^2)
Cell K8 | Position = -b/(2*a)'
Cell K9 | Width = 2.35703/(SQRT(2)*SQRT(-a))

## Sheet3
Peak 2
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet4
Peak 3
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet5
Peak 4
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet6
Peak 5
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet7
Peak 6
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet8
Peak 7
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet9
Peak 8
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet10
Peak 9
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet11
Peak 10
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.10536 | -0.10536 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold and the Slope threshold above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)