## Sheet1
Demo of Peak detection and measurement with peak sharpening | [8 empty] | You may type into the green cells | [10 empty] | Tom O'Haver (toh@umd.edu), 2013 | [5 empty] | Gaussian Peak Parameters | [5 empty] | Noise
| Press F9 to recauculate with new set of simulated noise | [7 empty] | Set the peak values in the table on the right. | [16 empty] | height | 5 | 4 | 3 | 2 | 1 | 0.001
Amplitude threshold | 1 | Slope threshold | 0.2 |  | Peak sharpening factor | 120 |  |  | Change the smooth width by changing these 17 coefficients in row 5, columns J through Z. | [16 empty] | position | 40 | 80 | 120 | 160 | 200
Set the Amplitude threshold, Slope threshold, and Peak sharpening above so the peaks are detected. | [8 empty] | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | width | 40 | 40 | 40 | 40 | 40
[5 empty] | Peak detection criteria |  |  | Coefficients ----> | 0 | 0 | 0 | -3 | -3 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 3 | 3 | 0 | 0 | 0 |  | 24.0224 | 24.0224 | 24.0224 | 24.0224 | 24.0224 |  | Measured peak parameters
Calculated data |  | Peak sharpening |  | First derivative | Signal greater than amplitude threshold? | Down zero crossing in first derivative? | Crossing slope greater than slope threshold? | All three conditions met? Peak detected! | # of peaks so far | Peak # |  | Peak parameters measured by least-squares are listed in the table in columns AH-AK | [20 empty] | peak height | peak x position | peak width (FWHM) | Interval between peaks
X | Y | -d2y/dx2 | added to Y | [13 empty] | 5 | peaks found | [9 empty] | peak# | match | row # | sheet
1 | 0.35843 |  | 120 | 0 | 0 | [22 empty] | 1 | 39 | 47 | 2 | Sheet2! | 5.2993 | 42.6925 | 46.4227
2 | 0.40962 | -0.0055889 | -0.26105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 2 | 79 | 87 | 3 | Sheet3! | 4.5278 | 76.8906 | 65.5817 | 34.1981
3 | 0.4664 | -0.0063443 | -0.29491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 3 | 119 | 127 | 4 | Sheet4! | 3.412 | 115.9071 | 65.2581 | 39.0165
4 | 0.52953 | -0.0058013 | -0.16663 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 4 | 160 | 168 | 5 | Sheet5! | 2.3005 | 154.4472 | 62.303 | 38.5401
5 | 0.59845 | -0.0073101 | -0.27876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 5 | 200 | 208 | 6 | Sheet6! | 1.2094 | 190.955 | 56.2746 | 36.5078
6 | 0.67469 | -0.0073943 | -0.21263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 6 | #N/A | 0 | 7 | Sheet7!
7 | 0.75832 | -0.0069716 | -0.07827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 7 | #N/A | 0 | 8 | Sheet8!
8 | 0.84892 | -0.006385 | 0.082723 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 8 | #N/A | 0 | 9 | Sheet9!
9 | 0.94591 | -0.009514 | -0.19577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 9 | #N/A | 0 | 10 | Sheet10!
10 | 1.0524 | -0.0058406 | 0.35153 | 8.3729 | 1 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 10 | #N/A | 0 | 11 | Sheet11!
11 | 1.1648 | -0.0096295 | 0.0092165 | 10.2955 | 1 | 0 | 0 | 0 | 0 | 0
12 | 1.2867 | -0.0060416 | 0.56173 | 11.0825 | 1 | 0 | 0 | 0 | 0 | 0
13 | 1.4147 | -0.0086324 | 0.37885 | 13.0864 | 1 | 0 | 0 | 0 | 0 | 0
14 | 1.5514 | -0.0074887 | 0.65274 | 14.8159 | 1 | 0 | 0 | 0 | 0 | 0
15 | 1.6955 | -0.0074455 | 0.80206 | 15.834 | 1 | 0 | 0 | 0 | 0 | 0
16 | 1.8471 | -0.0044281 | 1.3157 | 17.6933 | 1 | 0 | 0 | 0 | 0 | 0
17 | 2.0031 | -0.0078504 | 1.0611 | 19.0588 | 1 | 0 | 0 | 0 | 0 | 0
18 | 2.167 | -0.0041835 | 1.6649 | 20.8021 | 1 | 0 | 0 | 0 | 0 | 0
19 | 2.335 | -0.0050091 | 1.7339 | 21.5987 | 1 | 0 | 0 | 0 | 0 | 0
20 | 2.5081 | -0.003185 | 2.1259 | 22.6149 | 1 | 0 | 0 | 0 | 0 | 0
21 | 2.6843 | -0.0038134 | 2.2267 | 23.6581 | 1 | 0 | 0 | 0 | 0 | 0
22 | 2.8643 | -6.8679e-05 | 2.8561 | 25.4759 | 1 | 0 | 0 | 0 | 0 | 0
23 | 3.0445 | -0.0010328 | 2.9205 | 25.3653 | 1 | 0 | 0 | 0 | 0 | 0
24 | 3.2256 | 0.00030942 | 3.2627 | 26.0735 | 1 | 0 | 0 | 0 | 0 | 0
25 | 3.4064 | 0.0014089 | 3.5755 | 26.022 | 1 | 0 | 0 | 0 | 0 | 0
26 | 3.5859 | 0.0039094 | 4.055 | 26.1798 | 1 | 0 | 0 | 0 | 0 | 0
27 | 3.7614 | 0.0047561 | 4.3321 | 25.9534 | 1 | 0 | 1 | 0 | 0 | 0
28 | 3.9322 | 0.0052143 | 4.5579 | 25.5902 | 1 | 0 | 1 | 0 | 0 | 0
29 | 4.0977 | 0.0064354 | 4.87 | 24.6171 | 1 | 0 | 1 | 0 | 0 | 0
30 | 4.2568 | 0.0082731 | 5.2496 | 23.3757 | 1 | 0 | 1 | 0 | 0 | 0
31 | 4.4077 | 0.0090583 | 5.4947 | 21.947 | 1 | 0 | 1 | 0 | 0 | 0
32 | 4.5495 | 0.011385 | 5.9156 | 19.9258 | 1 | 0 | 1 | 0 | 0 | 0
33 | 4.6799 | 0.010191 | 5.9029 | 18.4026 | 1 | 0 | 1 | 0 | 0 | 0
34 | 4.8001 | 0.01229 | 6.2749 | 16.0555 | 1 | 0 | 1 | 0 | 0 | 0
35 | 4.908 | 0.012962 | 6.4634 | 13.3817 | 1 | 0 | 1 | 0 | 0 | 0
36 | 5.003 | 0.013407 | 6.6118 | 10.853 | 1 | 0 | 1 | 0 | 0 | 0
37 | 5.0845 | 0.011855 | 6.5071 | 8.2857 | 1 | 0 | 1 | 0 | 0 | 0
38 | 5.1542 | 0.014775 | 6.9272 | 5.8913 | 1 | 0 | 1 | 0 | 0 | 0
39 | 5.2091 | 0.013931 | 6.8808 | 2.6655 | 1 | 0 | 1 | 0 | 0 | 0
40 | 5.2501 | 0.012893 | 6.7973 | -0.031991 | 1 | 1 | 1 | 1 | 1 | 1
41 | 5.2782 | 0.012708 | 6.8032 | -2.7563 | 1 | 0 | 1 | 0 | 1 | 0
42 | 5.2936 | 0.013147 | 6.8713 | -5.2141 | 1 | 0 | 1 | 0 | 1 | 0
43 | 5.2958 | 0.011552 | 6.6821 | -8.2055 | 1 | 0 | 1 | 0 | 1 | 0
44 | 5.2865 | 0.010371 | 6.531 | -9.895 | 1 | 0 | 1 | 0 | 1 | 0
45 | 5.2669 | 0.0096231 | 6.4216 | -11.6007 | 1 | 0 | 1 | 0 | 1 | 0
46 | 5.2375 | 0.0087078 | 6.2825 | -14.1052 | 1 | 0 | 1 | 0 | 1 | 0
47 | 5.1995 | 0.0074278 | 6.0909 | -14.8248 | 1 | 0 | 1 | 0 | 1 | 0
48 | 5.1541 | 0.0059212 | 5.8646 | -15.9814 | 1 | 0 | 1 | 0 | 1 | 0
49 | 5.1027 | 0.005035 | 5.7069 | -16.9947 | 1 | 0 | 1 | 0 | 1 | 0
50 | 5.0463 | 0.0038673 | 5.5104 | -17.2099 | 1 | 0 | 1 | 0 | 1 | 0
51 | 4.9861 | 5.0318e-05 | 4.9921 | -17.7979 | 1 | 0 | 1 | 0 | 1 | 0
52 | 4.9258 | 0.002753 | 5.2561 | -17.1749 | 1 | 0 | 0 | 0 | 1 | 0
53 | 4.8627 | -0.001338 | 4.7021 | -16.1627 | 1 | 0 | 0 | 0 | 1 | 0
54 | 4.801 | -0.0028198 | 4.4626 | -15.8908 | 1 | 0 | 0 | 0 | 1 | 0
55 | 4.742 | -0.001704 | 4.5376 | -14.1584 | 1 | 0 | 0 | 0 | 1 | 0
56 | 4.6848 | -0.0052086 | 4.0598 | -12.4993 | 1 | 0 | 0 | 0 | 1 | 0
57 | 4.6328 | -0.0041463 | 4.1353 | -11.4623 | 1 | 0 | 0 | 0 | 1 | 0
58 | 4.585 | -0.004318 | 4.0668 | -8.7577 | 1 | 0 | 0 | 0 | 1 | 0
59 | 4.5415 | -0.0081556 | 3.5628 | -7.0938 | 1 | 0 | 0 | 0 | 1 | 0
60 | 4.5061 | -0.0048698 | 3.9217 | -4.7198 | 1 | 0 | 0 | 0 | 1 | 0
61 | 4.4756 | -0.0064853 | 3.6973 | -2.7055 | 1 | 0 | 0 | 0 | 1 | 0
62 | 4.4516 | -0.0068585 | 3.6285 | -0.82517 | 1 | 0 | 0 | 0 | 1 | 0
63 | 4.4344 | -0.005786 | 3.7401 | 0.88374 | 1 | 0 | 0 | 0 | 1 | 0
64 | 4.423 | -0.0062991 | 3.6671 | 3.6908 | 1 | 0 | 0 | 0 | 1 | 0
65 | 4.4179 | -0.0034865 | 3.9996 | 4.6035 | 1 | 0 | 0 | 0 | 1 | 0
66 | 4.4163 | -0.0061949 | 3.673 | 6.343 | 1 | 0 | 0 | 0 | 1 | 0
67 | 4.4209 | -0.0037344 | 3.9728 | 7.8161 | 1 | 0 | 0 | 0 | 1 | 0
68 | 4.4293 | -0.0036958 | 3.9858 | 8.5521 | 1 | 0 | 0 | 0 | 1 | 0
69 | 4.4413 | -0.00086622 | 4.3374 | 9.3624 | 1 | 0 | 0 | 0 | 1 | 0
70 | 4.4542 | -0.0012701 | 4.3018 | 10.0623 | 1 | 0 | 0 | 0 | 1 | 0
71 | 4.4684 | -0.0010901 | 4.3376 | 10.7496 | 1 | 0 | 0 | 0 | 1 | 0
72 | 4.4836 | 0.0015716 | 4.6722 | 9.5688 | 1 | 0 | 1 | 0 | 1 | 0
73 | 4.4973 | 0.0017463 | 4.7069 | 9.2004 | 1 | 0 | 1 | 0 | 1 | 0
74 | 4.5093 | 0.0018626 | 4.7328 | 8.9235 | 1 | 0 | 1 | 0 | 1 | 0
75 | 4.5194 | 0.0048559 | 5.1021 | 7.8114 | 1 | 0 | 1 | 0 | 1 | 0
76 | 4.5246 | 0.0040459 | 5.0101 | 6.7843 | 1 | 0 | 1 | 0 | 1 | 0
77 | 4.5258 | 0.0036438 | 4.963 | 4.7066 | 1 | 0 | 1 | 0 | 1 | 0
78 | 4.5233 | 0.005546 | 5.1888 | 3.649 | 1 | 0 | 1 | 0 | 1 | 0
79 | 4.5153 | 0.0077265 | 5.4425 | 1.7271 | 1 | 0 | 1 | 0 | 1 | 0
80 | 4.4995 | 0.0043453 | 5.021 | -0.20703 | 1 | 1 | 1 | 1 | 2 | 2
81 | 4.4795 | 0.0064798 | 5.257 | -1.999 | 1 | 0 | 1 | 0 | 2 | 0
82 | 4.4529 | 0.0055282 | 5.1163 | -3.7804 | 1 | 0 | 1 | 0 | 2 | 0
83 | 4.4208 | 0.0066408 | 5.2177 | -5.522 | 1 | 0 | 1 | 0 | 2 | 0
84 | 4.3821 | 0.0047044 | 4.9466 | -7.1863 | 1 | 0 | 1 | 0 | 2 | 0
85 | 4.3386 | 0.0051117 | 4.952 | -7.8327 | 1 | 0 | 1 | 0 | 2 | 0
86 | 4.2901 | 0.0035411 | 4.715 | -10.2375 | 1 | 0 | 1 | 0 | 2 | 0
87 | 4.238 | 0.0040985 | 4.7298 | -10.5683 | 1 | 0 | 1 | 0 | 2 | 0
88 | 4.1818 | 0.003707 | 4.6266 | -12.0186 | 1 | 0 | 1 | 0 | 2 | 0
89 | 4.1219 | 0.0016896 | 4.3246 | -12.4393 | 1 | 0 | 1 | 0 | 2 | 0
90 | 4.0603 | 0.0014518 | 4.2345 | -13.0311 | 1 | 0 | 1 | 0 | 2 | 0
91 | 3.9973 | -0.00075493 | 3.9067 | -12.9772 | 1 | 0 | 0 | 0 | 2 | 0
92 | 3.935 | 0.0010773 | 4.0643 | -13.5382 | 1 | 0 | 1 | 0 | 2 | 0
93 | 3.8716 | -0.0023092 | 3.5945 | -12.6762 | 1 | 0 | 0 | 0 | 2 | 0
94 | 3.8106 | -0.0026895 | 3.4878 | -11.8553 | 1 | 0 | 0 | 0 | 2 | 0
95 | 3.7522 | -0.0022269 | 3.485 | -11.0546 | 1 | 0 | 0 | 0 | 2 | 0
96 | 3.6961 | -0.0031641 | 3.3164 | -10.2166 | 1 | 0 | 0 | 0 | 2 | 0
97 | 3.6431 | -0.0056194 | 2.9688 | -8.7184 | 1 | 0 | 0 | 0 | 2 | 0
98 | 3.5958 | -0.0037273 | 3.1485 | -7.1553 | 1 | 0 | 0 | 0 | 2 | 0
99 | 3.5521 | -0.0051687 | 2.9319 | -6.0367 | 1 | 0 | 0 | 0 | 2 | 0
100 | 3.5137 | -0.0049931 | 2.9145 | -4.3242 | 1 | 0 | 0 | 0 | 2 | 0
101 | 3.4802 | -0.0064032 | 2.7119 | -2.8803 | 1 | 0 | 0 | 0 | 2 | 0
102 | 3.4532 | -0.0034528 | 3.0388 | -0.8948 | 1 | 0 | 0 | 0 | 2 | 0
103 | 3.4296 | -0.0059815 | 2.7118 | 0.067025 | 1 | 0 | 0 | 0 | 2 | 0
104 | 3.4119 | -0.0053024 | 2.7757 | 1.8266 | 1 | 0 | 0 | 0 | 2 | 0
105 | 3.3996 | -0.0034319 | 2.9878 | 2.8417 | 1 | 0 | 0 | 0 | 2 | 0
106 | 3.3907 | -0.0047942 | 2.8154 | 4.361 | 1 | 0 | 0 | 0 | 2 | 0
107 | 3.3866 | -0.0028862 | 3.0403 | 4.9891 | 1 | 0 | 0 | 0 | 2 | 0
108 | 3.3854 | -0.0026678 | 3.0653 | 6.8786 | 1 | 0 | 0 | 0 | 2 | 0
109 | 3.3869 | -0.0022367 | 3.1185 | 6.742 | 1 | 0 | 0 | 0 | 2 | 0
110 | 3.3906 | -0.0016182 | 3.1964 | 7.1017 | 1 | 0 | 0 | 0 | 2 | 0
111 | 3.3959 | -4.3626e-05 | 3.3907 | 7.5751 | 1 | 0 | 0 | 0 | 2 | 0
112 | 3.4013 | 0.00025479 | 3.4318 | 7.4966 | 1 | 0 | 0 | 0 | 2 | 0
113 | 3.4064 | 0.0021602 | 3.6656 | 6.6844 | 1 | 0 | 1 | 0 | 2 | 0
114 | 3.4093 | 0.00035192 | 3.4515 | 6.6357 | 1 | 0 | 0 | 0 | 2 | 0
115 | 3.4119 | 0.002889 | 3.7586 | 5.4241 | 1 | 0 | 1 | 0 | 2 | 0
116 | 3.4116 | 0.0031762 | 3.7927 | 4.6752 | 1 | 0 | 1 | 0 | 2 | 0
117 | 3.4081 | 0.0041816 | 3.9099 | 4.0187 | 1 | 0 | 1 | 0 | 2 | 0
118 | 3.4005 | 0.0021114 | 3.6538 | 2.7783 | 1 | 0 | 1 | 0 | 2 | 0
119 | 3.3907 | 0.0057619 | 4.0821 | 1.3641 | 1 | 0 | 1 | 0 | 2 | 0
120 | 3.3752 | 0.0036599 | 3.8144 | -0.27625 | 1 | 1 | 1 | 1 | 3 | 3
121 | 3.356 | 0.0050726 | 3.9647 | -1.2233 | 1 | 0 | 1 | 0 | 3 | 0
122 | 3.3317 | 0.0050698 | 3.9401 | -2.5856 | 1 | 0 | 1 | 0 | 3 | 0
123 | 3.3024 | 0.0043568 | 3.8252 | -4.0615 | 1 | 0 | 1 | 0 | 3 | 0
124 | 3.2687 | 0.0027796 | 3.6022 | -5.4486 | 1 | 0 | 1 | 0 | 3 | 0
125 | 3.2322 | 0.0046482 | 3.79 | -6.708 | 1 | 0 | 1 | 0 | 3 | 0
126 | 3.1911 | 0.0041227 | 3.6858 | -7.5691 | 1 | 0 | 1 | 0 | 3 | 0
127 | 3.1459 | 0.0029183 | 3.4961 | -8.352 | 1 | 0 | 1 | 0 | 3 | 0
128 | 3.0977 | 0.0012163 | 3.2437 | -9.2453 | 1 | 0 | 1 | 0 | 3 | 0
129 | 3.0483 | 0.0036512 | 3.4865 | -9.4508 | 1 | 0 | 1 | 0 | 3 | 0
130 | 2.9953 | -0.00042305 | 2.9445 | -10.6594 | 1 | 0 | 1 | 0 | 3 | 0
131 | 2.9427 | 0.0014188 | 3.113 | -10.3457 | 1 | 0 | 0 | 0 | 3 | 0
132 | 2.8887 | -0.00010765 | 2.8758 | -9.8716 | 1 | 0 | 0 | 0 | 3 | 0
133 | 2.8348 | -0.0015869 | 2.6443 | -9.7624 | 1 | 0 | 0 | 0 | 3 | 0
134 | 2.7824 | -0.00016358 | 2.7628 | -10.171 | 1 | 0 | 1 | 0 | 3 | 0
135 | 2.7303 | -0.0029073 | 2.3814 | -8.3772 | 1 | 0 | 0 | 0 | 3 | 0
136 | 2.681 | -0.0021991 | 2.4171 | -8.6935 | 1 | 0 | 1 | 0 | 3 | 0
137 | 2.634 | -0.0018287 | 2.4145 | -7.4763 | 1 | 0 | 0 | 0 | 3 | 0
138 | 2.5887 | -0.003954 | 2.1143 | -6.2538 | 1 | 0 | 0 | 0 | 3 | 0
139 | 2.5475 | -0.00441 | 2.0183 | -5.7533 | 1 | 0 | 0 | 0 | 3 | 0
140 | 2.5106 | -0.0019484 | 2.2768 | -4.1789 | 1 | 0 | 0 | 0 | 3 | 0
141 | 2.4757 | -0.0051184 | 1.8615 | -3.5686 | 1 | 0 | 0 | 0 | 3 | 0
142 | 2.4459 | -0.0037526 | 1.9956 | -2.0851 | 1 | 0 | 0 | 0 | 3 | 0
143 | 2.4198 | -0.0028944 | 2.0725 | -1.0158 | 1 | 0 | 0 | 0 | 3 | 0
144 | 2.3967 | -0.0042225 | 1.89 | 0.34844 | 1 | 0 | 0 | 0 | 3 | 0
145 | 2.3778 | -0.0032403 | 1.9889 | 0.80443 | 1 | 0 | 0 | 0 | 3 | 0
146 | 2.3621 | -0.0035588 | 1.935 | 2.4104 | 1 | 0 | 0 | 0 | 3 | 0
147 | 2.3499 | -0.0019531 | 2.1156 | 2.6977 | 1 | 0 | 0 | 0 | 3 | 0
148 | 2.3398 | -0.0030786 | 1.9703 | 2.9508 | 1 | 0 | 0 | 0 | 3 | 0
149 | 2.3327 | -0.00064723 | 2.255 | 4.497 | 1 | 0 | 0 | 0 | 3 | 0
150 | 2.3262 | -0.0016108 | 2.1329 | 4.1665 | 1 | 0 | 1 | 0 | 3 | 0
151 | 2.3214 | -0.00060058 | 2.2493 | 4.2288 | 1 | 0 | 0 | 0 | 3 | 0
152 | 2.3171 | -0.00026042 | 2.2859 | 4.4524 | 1 | 0 | 0 | 0 | 3 | 0
153 | 2.3132 | -0.00076479 | 2.2214 | 4.6006 | 1 | 0 | 0 | 0 | 3 | 0
154 | 2.31 | 0.0029361 | 2.6623 | 4.2139 | 1 | 0 | 1 | 0 | 3 | 0
155 | 2.3038 | 0.00027 | 2.3362 | 3.8167 | 1 | 0 | 1 | 0 | 3 | 0
156 | 2.2974 | 0.0008839 | 2.4035 | 2.8883 | 1 | 0 | 1 | 0 | 3 | 0
157 | 2.2901 | 0.0037643 | 2.7418 | 2.8318 | 1 | 0 | 0 | 0 | 3 | 0
158 | 2.279 | 0.0023677 | 2.5631 | 1.4398 | 1 | 0 | 1 | 0 | 3 | 0
159 | 2.2656 | 0.0029558 | 2.6203 | 1.0001 | 1 | 0 | 1 | 0 | 3 | 0
160 | 2.2492 | 0.0020592 | 2.4963 | 0.2686 | 1 | 0 | 1 | 0 | 3 | 0
161 | 2.2307 | 0.0025246 | 2.5337 | -1.022 | 1 | 1 | 1 | 1 | 4 | 4
162 | 2.2098 | 0.0052594 | 2.8409 | -2.347 | 1 | 0 | 1 | 0 | 4 | 0
163 | 2.1835 | 0.0010026 | 2.3038 | -2.6779 | 1 | 0 | 1 | 0 | 4 | 0
164 | 2.1563 | 0.004961 | 2.7516 | -3.4854 | 1 | 0 | 1 | 0 | 4 | 0
165 | 2.1241 | 0.0019595 | 2.3592 | -4.2895 | 1 | 0 | 1 | 0 | 4 | 0
166 | 2.0899 | 0.002192 | 2.353 | -5.194 | 1 | 0 | 1 | 0 | 4 | 0
167 | 2.0536 | 0.0023625 | 2.3371 | -6.2793 | 1 | 0 | 1 | 0 | 4 | 0
168 | 2.0149 | 0.0019018 | 2.2431 | -5.996 | 1 | 0 | 0 | 0 | 4 | 0
169 | 1.9743 | 0.002007 | 2.2151 | -6.9701 | 1 | 0 | 1 | 0 | 4 | 0
170 | 1.9316 | 0.0013494 | 2.0936 | -7.1139 | 1 | 0 | 0 | 0 | 4 | 0
171 | 1.8877 | 0.00080941 | 1.9848 | -7.3685 | 1 | 0 | 1 | 0 | 4 | 0
172 | 1.8429 | 0.00012251 | 1.8576 | -7.5704 | 1 | 0 | 1 | 0 | 4 | 0
173 | 1.798 | -8.982e-05 | 1.7872 | -7.5794 | 1 | 0 | 0 | 0 | 4 | 0
174 | 1.7532 | 0.00022651 | 1.7804 | -7.3894 | 1 | 0 | 0 | 0 | 4 | 0
175 | 1.7081 | -0.0021995 | 1.4442 | -7.3131 | 1 | 0 | 0 | 0 | 4 | 0
176 | 1.6653 | -0.00040799 | 1.6163 | -6.4337 | 1 | 0 | 0 | 0 | 4 | 0
177 | 1.6229 | -0.0011409 | 1.486 | -6.1685 | 1 | 0 | 0 | 0 | 4 | 0
178 | 1.5816 | -0.0022703 | 1.3092 | -5.4204 | 1 | 0 | 0 | 0 | 4 | 0
179 | 1.5426 | -0.0019347 | 1.3104 | -5.4032 | 1 | 0 | 0 | 0 | 4 | 0
180 | 1.5055 | -0.0030937 | 1.1342 | -4.0396 | 1 | 0 | 0 | 0 | 4 | 0
181 | 1.4715 | -0.0010905 | 1.3406 | -3.9101 | 1 | 0 | 0 | 0 | 4 | 0
182 | 1.4386 | -0.0029403 | 1.0858 | -3.2655 | 1 | 0 | 0 | 0 | 4 | 0
183 | 1.4086 | -0.0020841 | 1.1585 | -1.7876 | 1 | 0 | 0 | 0 | 4 | 0
184 | 1.3808 | -0.0035833 | 0.95076 | -1.503 | 1 | 0 | 0 | 0 | 4 | 0
185 | 1.3565 | -0.0010575 | 1.2296 | -0.94418 | 1 | 0 | 0 | 0 | 4 | 0
186 | 1.3332 | -0.0024003 | 1.0452 | -0.77707 | 1 | 0 | 0 | 0 | 4 | 0
187 | 1.3124 | -0.0032258 | 0.92529 | 0.68695 | 1 | 0 | 0 | 0 | 4 | 0
188 | 1.2948 | 9.7567e-05 | 1.3065 | 0.48706 | 1 | 0 | 0 | 0 | 4 | 0
189 | 1.2771 | -0.0018433 | 1.0559 | 1.0245 | 1 | 0 | 0 | 0 | 4 | 0
190 | 1.2612 | -0.0021138 | 1.0076 | 1.4876 | 1 | 0 | 0 | 0 | 4 | 0
191 | 1.2475 | -0.001006 | 1.1267 | 1.5568 | 1 | 0 | 0 | 0 | 4 | 0
192 | 1.2347 | 0.00069764 | 1.3184 | 2.1032 | 1 | 0 | 0 | 0 | 4 | 0
193 | 1.2213 | -0.0015306 | 1.0376 | 1.142 | 1 | 0 | 1 | 0 | 4 | 0
194 | 1.2094 | -0.00027519 | 1.1763 | 2.2709 | 1 | 0 | 0 | 0 | 4 | 0
195 | 1.1977 | 0.0021056 | 1.4504 | 2.044 | 1 | 0 | 1 | 0 | 4 | 0
196 | 1.184 | -0.00088549 | 1.0777 | 1.2827 | 1 | 0 | 1 | 0 | 4 | 0
197 | 1.1711 | 0.0017223 | 1.3778 | 0.8368 | 1 | 0 | 1 | 0 | 4 | 0
198 | 1.1565 | -0.00024904 | 1.1267 | 1.1272 | 1 | 0 | 0 | 0 | 4 | 0
199 | 1.1422 | 0.0026944 | 1.4655 | 0.14487 | 1 | 0 | 1 | 0 | 4 | 0
200 | 1.1252 | 0.0018559 | 1.3479 | 0.13233 | 1 | 0 | 0 | 0 | 4 | 0
201 | 1.1063 | 0.00039898 | 1.1542 | -0.23654 | 1 | 1 | 1 | 1 | 5 | 5
202 | 1.087 | 0.0016313 | 1.2828 | -0.99143 | 1 | 0 | 1 | 0 | 5 | 0
203 | 1.0661 | 0.0027298 | 1.3937 | -1.7244 | 1 | 0 | 1 | 0 | 5 | 0
204 | 1.0425 | 0.00090907 | 1.1516 | -2.2049 | 1 | 0 | 1 | 0 | 5 | 0
205 | 1.0179 | 0.0032209 | 1.4045 | -2.3217 | 1 | 0 | 0 | 0 | 5 | 0
206 | 0.99017 | 0.0002229 | 1.0169 | -2.3185 | 0 | 0 | 0 | 0 | 5 | 0
207 | 0.96218 | 0.0025587 | 1.2692 | -3.4053 | 0 | 0 | 1 | 0 | 5 | 0
208 | 0.93162 | 0.00020388 | 0.95609 | -4.0648 | 0 | 0 | 1 | 0 | 5 | 0
209 | 0.90087 | 0.0023346 | 1.181 | -3.5688 | 0 | 0 | 0 | 0 | 5 | 0
210 | 0.86778 | 0.0011164 | 1.0017 | -4.608 | 0 | 0 | 1 | 0 | 5 | 0
211 | 0.83357 | 0.0018076 | 1.0505 | -4.038 | 0 | 0 | 0 | 0 | 5 | 0
212 | 0.79756 | 0.00010347 | 0.80998 | -5.2922 | 0 | 0 | 1 | 0 | 5 | 0
213 | 0.76144 | 0.00010344 | 0.77385 | -5.172 | 0 | 0 | 0 | 0 | 5 | 0
214 | 0.72522 | 0.0017076 | 0.93013 | -5.2463 | 0 | 0 | 0 | 0 | 5 | 0
215 | 0.68729 | -0.00079798 | 0.59154 | -5.2708 | 0 | 0 | 0 | 0 | 5 | 0
216 | 0.65016 | 0.0004981 | 0.70993 | -4.8989 | 0 | 0 | 0 | 0 | 5 | 0
217 | 0.61253 | -0.0010983 | 0.48074 | -4.9556 | 0 | 0 | 0 | 0 | 5 | 0
218 | 0.576 | -0.00071591 | 0.4901 | -4.5625 | 0 | 0 | 0 | 0 | 5 | 0
219 | 0.54019 | 0.00084109 | 0.64112 | -4.9055 | 0 | 0 | 1 | 0 | 5 | 0
220 | 0.50354 | -0.0021723 | 0.24285 | -3.6681 | 0 | 0 | 0 | 0 | 5 | 0
221 | 0.46905 | -0.00017827 | 0.44766 | -4.7238 | 0 | 0 | 1 | 0 | 5 | 0
222 | 0.43475 | -0.0018578 | 0.21181 | -3.6648 | 0 | 0 | 0 | 0 | 5 | 0
223 | 0.4023 | -0.00024293 | 0.37315 | -4.0568 | 0 | 0 | 1 | 0 | 5 | 0
224 | 0.3701 | -0.0021181 | 0.11592 | -3.6355 | 0 | 0 | 0 | 0 | 5 | 0
225 | 0.34001 | -0.00016296 | 0.32046 | -2.8695 | 0 | 0 | 0 | 0 | 5 | 0
226 | 0.31009 | -0.0037608 | -0.14121 | -2.7875 | 0 | 0 | 0 | 0 | 5 | 0
227 | 0.28393 | 0.0003052 | 0.32055 | -2.7566 | 0 | 0 | 0 | 0 | 5 | 0
228 | 0.25746 | -0.0024853 | -0.040774 | -2.3146 | 0 | 0 | 0 | 0 | 5 | 0
229 | 0.23348 | -0.0011712 | 0.092928 | -1.8805 | 0 | 0 | 0 | 0 | 5 | 0
230 | 0.21067 | -0.0016351 | 0.014459 | -1.8677 | 0 | 0 | 0 | 0 | 5 | 0
231 | 0.18949 | -0.00074152 | 0.10051 | -0.95422 | 0 | 0 | 0 | 0 | 5 | 0
232 | 0.16906 | -0.0031983 | -0.21474 | -1.8235 | 0 | 0 | 1 | 0 | 5 | 0
233 | 0.15182 | -0.00022923 | 0.12431 | -0.50815 | 0 | 0 | 0 | 0 | 5 | 0
234 | 0.13482 | -0.0020647 | -0.11295 | -1.0626 | 0 | 0 | 1 | 0 | 5 | 0
235 | 0.11987 | -0.0011712 | -0.020674 | -0.80462 | 0 | 0 | 0 | 0 | 5 | 0
236 | 0.1061 | -0.0008042 | 0.009599 | -0.28529 | 0 | 0 | 0 | 0 | 5 | 0
237 | 0.093136 | -0.0020016 | -0.14705 | -0.048616 | 0 | 0 | 0 | 0 | 5 | 0
238 | 0.082172 | -5.2191e-06 | 0.081545 | -0.25133 | 0 | 0 | 1 | 0 | 5 | 0
239 | 0.071212 | -0.0021104 | -0.18203 |  | 0 | 0 | 0 | 0 | 5 | 0
240 | 0.062363 | -0.0015816 | -0.12743 |  | 0 | 0 | 0 | 0 | 5 | 0
241 | 0.055095 | 0.0006818 | 0.13691 |  | 0 | 0 | 0 | 0 | 5 | 0
242 | 0.047146 | -0.0016052 | -0.14547 |  | 0 | 0 | 0 | 0 | 5 | 0
243 | 0.040802 | -0.00018595 | 0.018487 |  | 0 | 0 | 0 | 0 | 5 | 0
244 | 0.034643 | -0.0022333 | -0.23335 |  | 0 | 0 | 0 | 0 | 5 | 0
245 | 0.030719 | 0.00084328 | 0.13191 |  | 0 | 0 | 0 | 0 | 5 | 0
246 | 0.02595 | -0.00041013 | -0.023265 |  | 0 | 0 | 0 | 0 | 5 | 0
247 | 0.021592 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
248 | 0.018885 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
249 | 0.015856 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
250 | 0.013046 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
251 | 0.011145 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
252 | 0.0091911 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
253 | 0.0079491 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
254 | 0.0064713 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
255 | 0.0048965 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
256 | 0.0041415 |  |  |  | 0 | 0 | 0 | 0 | 5 | 0
Note on B8: Tom: In this example, the x,y signal data in column A and B, rows 8 to 263, are calculated by formula. You can change the signal parameters in column AC, rows 2-4.
Note on F8: Tom: This column calculates the smoothed derivative of the original data in Column sA and B.
Note on M8: Tom O'Haver: This column calculates the peak number of each peak that is detected.

## Sheet2
Peak 1
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 1.6583 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 1.6583 |  | 0 | 0 | 0 | 0 | 0 | Height | 5.2993 | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | 1.6583 |  | 0 | 0 | 0 | 0 | 0 | Position | 42.6925 | b/(2*a)
-5 | 35 | 1.5909 | 1.5909 | 55.6804 | 1225 | 42875 | 1500625 | 1948.8123 | Width | 46.4227 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 36 | 1.61 | 1.61 | 57.9611 | 1296 | 46656 | 1679616 | 2086.5989
-3 | 37 | 1.6262 | 1.6262 | 60.1694 | 1369 | 50653 | 1874161 | 2226.2666
-2 | 38 | 1.6398 | 1.6398 | 62.3129 | 1444 | 54872 | 2085136 | 2367.8908
-1 | 39 | 1.6504 | 1.6504 | 64.3661 | 1521 | 59319 | 2313441 | 2510.2779 | Note: The if( ) functions in these equations
0 | 40 | 1.6583 | 1.6583 | 66.33 | 1600 | 64000 | 2560000 | 2653.2015 | are not part of the actual numerical calculation.
1 | 41 | 1.6636 | 1.6636 | 68.2071 | 1681 | 68921 | 2825761 | 2796.492 | Their purpose is simply input filtering, to eliminate
2 | 42 | 1.6665 | 1.6665 | 69.993 | 1764 | 74088 | 3111696 | 2939.7053 | any points that don't have both X and Y values
3 | 43 | 1.6669 | 1.6669 | 71.6777 | 1849 | 79507 | 3418801 | 3082.1404 | and to eliminate any Y values that are zero or
4 | 44 | 1.6652 | 1.6652 | 73.2672 | 1936 | 85184 | 3748096 | 3223.7558 | negative (for which a natural log can not be calculated)
5 | 45 | 1.6614 | 1.6614 | 74.7645 | 2025 | 91125 | 4100625 | 3364.402
0 |  | 1.6583 |  | 0 | 0 | 0 | 0 | 0
0 |  | 1.6583 |  | 0 | 0 | 0 | 0 | 0
0 |  | 1.6583 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum of.. | 440 | 18.0992 |  | 724.7293 | 17710 | 717200 | 29217958 | 29199.5437
number of points (n) | 11
Denominator (D) | 1038180
a | -0.0012865 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.10985 | (coefficient of the X term, like the slope)
CoeffC | -0.67735 | (the constant, like the intercept)
Summary of equations:
Cell B28 | n=number of x,y data points
Cell B27 | sumx=Σx
Cell C27 | sumy=Σy
Cell D27 | sumxy=Σx*y
Cell E27 | sumx2=Σx*x
Cell F27 | sumx3=Σx^3
Cell G27 | sumx3=Σx^4
Cell H27 | sumx2y=Σ(x^2)*y
Cell B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
Cell B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
Cell B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
Cell B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
Calculated Gaussian parameters:
Cell K7 | Height = EXP(c-a*(b/(2*a))^2)
Cell K8 | Position = -b/(2*a)'
Cell K9 | Width = 2.35703/(SQRT(2)*SQRT(-a))

## Sheet3
Peak 2
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 1.504 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 1.504 |  | 0 | 0 | 0 | 0 | 0 | Height | 4.5278 | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | 1.504 |  | 0 | 0 | 0 | 0 | 0 | Position | 76.8906 | b/(2*a)
-5 | 75 | 1.5084 | 1.5084 | 113.1277 | 5625 | 421875 | 31640625 | 8484.5777 | Width | 65.5817 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 76 | 1.5095 | 1.5095 | 114.7239 | 5776 | 438976 | 33362176 | 8719.0132
-3 | 77 | 1.5098 | 1.5098 | 116.2534 | 5929 | 456533 | 35153041 | 8951.513
-2 | 78 | 1.5092 | 1.5092 | 117.7207 | 6084 | 474552 | 37015056 | 9182.2129
-1 | 79 | 1.5075 | 1.5075 | 119.0899 | 6241 | 493039 | 38950081 | 9408.0985 | Note: The if( ) functions in these equations
0 | 80 | 1.504 | 1.504 | 120.318 | 6400 | 512000 | 40960000 | 9625.4381 | are not part of the actual numerical calculation.
1 | 81 | 1.4995 | 1.4995 | 121.4596 | 6561 | 531441 | 43046721 | 9838.2266 | Their purpose is simply input filtering, to eliminate
2 | 82 | 1.4936 | 1.4936 | 122.4714 | 6724 | 551368 | 45212176 | 10042.6518 | any points that don't have both X and Y values
3 | 83 | 1.4863 | 1.4863 | 123.3646 | 6889 | 571787 | 47458321 | 10239.2587 | and to eliminate any Y values that are zero or
4 | 84 | 1.4775 | 1.4775 | 124.1117 | 7056 | 592704 | 49787136 | 10425.3801 | negative (for which a natural log can not be calculated)
5 | 85 | 1.4676 | 1.4676 | 124.7424 | 7225 | 614125 | 52200625 | 10603.1052
0 |  | 1.504 |  | 0 | 0 | 0 | 0 | 0
0 |  | 1.504 |  | 0 | 0 | 0 | 0 | 0
0 |  | 1.6583 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 880 | 16.4728 |  | 1317.3831 | 70510 | 5658400 | 454785958 | 105519.4759
number of points (n) | 11
Denominator (D) | 1038180
a | -0.00064585 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.09932 | (coefficient of the X term, like the slope)
CoeffC | -2.3082 | (the constant, like the intercept)

## Sheet4
Peak 3
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 1.2164 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 1.2164 |  | 0 | 0 | 0 | 0 | 0 | Height | 3.412 | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | 1.2164 |  | 0 | 0 | 0 | 0 | 0 | Position | 115.9071 | b/(2*a)
-5 | 115 | 1.2273 | 1.2273 | 141.1356 | 13225 | 1520875 | 174900625 | 16230.5943 | Width | 65.2581 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 116 | 1.2272 | 1.2272 | 142.3527 | 13456 | 1560896 | 181063936 | 16512.9142
-3 | 117 | 1.2262 | 1.2262 | 143.4606 | 13689 | 1601613 | 187388721 | 16784.896
-2 | 118 | 1.2239 | 1.2239 | 144.4214 | 13924 | 1643032 | 193877776 | 17041.7268
-1 | 119 | 1.221 | 1.221 | 145.303 | 14161 | 1685159 | 200533921 | 17291.0565 | Note: The if( ) functions in these equations
0 | 120 | 1.2164 | 1.2164 | 145.9731 | 14400 | 1728000 | 207360000 | 17516.7775 | are not part of the actual numerical calculation.
1 | 121 | 1.2107 | 1.2107 | 146.4997 | 14641 | 1771561 | 214358881 | 17726.4595 | Their purpose is simply input filtering, to eliminate
2 | 122 | 1.2035 | 1.2035 | 146.8252 | 14884 | 1815848 | 221533456 | 17912.6726 | any points that don't have both X and Y values
3 | 123 | 1.1946 | 1.1946 | 146.941 | 15129 | 1860867 | 228886641 | 18073.7413 | and to eliminate any Y values that are zero or
4 | 124 | 1.1844 | 1.1844 | 146.8641 | 15376 | 1906624 | 236421376 | 18211.1544 | negative (for which a natural log can not be calculated)
5 | 125 | 1.1732 | 1.1732 | 146.6461 | 15625 | 1953125 | 244140625 | 18330.7592
0 |  | 1.2164 |  | 0 | 0 | 0 | 0 | 0
0 |  | 1.2164 |  | 0 | 0 | 0 | 0 | 0
0 |  | 1.2164 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 1320 | 13.3084 |  | 1596.4226 | 158510 | 19047600 | 2290465958 | 191632.7523
number of points (n) | 11
Denominator (D) | 1038180
a | -0.00065228 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.15121 | (coefficient of the X term, like the slope)
CoeffC | -7.5357 | (the constant, like the intercept)

## Sheet5
Peak 4
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 0.80233 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 0.80233 |  | 0 | 0 | 0 | 0 | 0 | Height | 2.3005 | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | 0.80233 |  | 0 | 0 | 0 | 0 | 0 | Position | 154.4472 | b/(2*a)
-5 | 156 | 0.83177 | 0.83177 | 129.7566 | 24336 | 3796416 | 592240896 | 20242.0368 | Width | 62.303 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 157 | 0.82859 | 0.82859 | 130.0885 | 24649 | 3869893 | 607573201 | 20423.9022
-3 | 158 | 0.82375 | 0.82375 | 130.1517 | 24964 | 3944312 | 623201296 | 20563.9717
-2 | 159 | 0.81783 | 0.81783 | 130.0354 | 25281 | 4019679 | 639128961 | 20675.6237
-1 | 160 | 0.81057 | 0.81057 | 129.6914 | 25600 | 4096000 | 655360000 | 20750.6302 | Note: The if( ) functions in these equations
0 | 161 | 0.80233 | 0.80233 | 129.1759 | 25921 | 4173281 | 671898241 | 20797.3169 | are not part of the actual numerical calculation.
1 | 162 | 0.79289 | 0.79289 | 128.4478 | 26244 | 4251528 | 688747536 | 20808.5424 | Their purpose is simply input filtering, to eliminate
2 | 163 | 0.78094 | 0.78094 | 127.294 | 26569 | 4330747 | 705911761 | 20748.9196 | any points that don't have both X and Y values
3 | 164 | 0.76839 | 0.76839 | 126.0164 | 26896 | 4410944 | 723394816 | 20666.6868 | and to eliminate any Y values that are zero or
4 | 165 | 0.75335 | 0.75335 | 124.3024 | 27225 | 4492125 | 741200625 | 20509.901 | negative (for which a natural log can not be calculated)
5 | 166 | 0.73714 | 0.73714 | 122.3647 | 27556 | 4574296 | 759333136 | 20312.5356
0 |  | 0.80233 |  | 0 | 0 | 0 | 0 | 0
0 |  | 0.80233 |  | 0 | 0 | 0 | 0 | 0
0 |  | 1.2164 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 1771 | 8.7476 |  | 1407.3249 | 285241 | 45959221 | 7407990469 | 226500.0669
number of points (n) | 11
Denominator (D) | 1038184
a | -0.00071562 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.22105 | (coefficient of the X term, like the slope)
CoeffC | -16.2372 | (the constant, like the intercept)

## Sheet6
Peak 5
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 0.10103 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 0.10103 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.2094 | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | 0.10103 |  | 0 | 0 | 0 | 0 | 0 | Position | 190.955 | b/(2*a)
-5 | 196 | 0.16888 | 0.16888 | 33.1011 | 38416 | 7529536 | 1475789056 | 6487.8233 | Width | 56.2746 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 197 | 0.15797 | 0.15797 | 31.1192 | 38809 | 7645373 | 1506138481 | 6130.4893
-3 | 198 | 0.14544 | 0.14544 | 28.797 | 39204 | 7762392 | 1536953616 | 5701.8049
-2 | 199 | 0.13297 | 0.13297 | 26.4615 | 39601 | 7880599 | 1568239201 | 5265.8331
-1 | 200 | 0.11796 | 0.11796 | 23.5912 | 40000 | 8000000 | 1600000000 | 4718.2381 | Note: The if( ) functions in these equations
0 | 201 | 0.10103 | 0.10103 | 20.308 | 40401 | 8120601 | 1632240801 | 4081.898 | are not part of the actual numerical calculation.
1 | 202 | 0.083455 | 0.083455 | 16.8579 | 40804 | 8242408 | 1664966416 | 3405.2965 | Their purpose is simply input filtering, to eliminate
2 | 203 | 0.064032 | 0.064032 | 12.9985 | 41209 | 8365427 | 1698181681 | 2638.6891 | any points that don't have both X and Y values
3 | 204 | 0.041609 | 0.041609 | 8.4882 | 41616 | 8489664 | 1731891456 | 1731.5955 | and to eliminate any Y values that are zero or
4 | 205 | 0.017779 | 0.017779 | 3.6447 | 42025 | 8615125 | 1766100625 | 747.1587 | negative (for which a natural log can not be calculated)
5 | 206 | -0.0098805 | -0.0098805 | -2.0354 | 42436 | 8741816 | 1800814096 | -419.2874
0 |  | 0.10103 |  | 0 | 0 | 0 | 0 | 0
0 |  | 0.10103 |  | 0 | 0 | 0 | 0 | 0
0 |  | 0.10103 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 2211 | 1.0212 |  | 203.3319 | 444521 | 89392941 | 17981315429 | 40489.5391
number of points (n) | 11
Denominator (D) | 1038192
a | -0.00087715 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.33499 | (coefficient of the X term, like the slope)
CoeffC | -31.7942 | (the constant, like the intercept)

## Sheet7
Peak 6
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | Demo of Peak detection and measurement with peak sharpening | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | 0 | 0 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold, Slope threshold, and Peak sharpening above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet8
Peak 7
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | Demo of Peak detection and measurement with peak sharpening | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | 0 | 0 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold, Slope threshold, and Peak sharpening above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet9
Peak 8
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | Demo of Peak detection and measurement with peak sharpening | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | 0 | 0 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold, Slope threshold, and Peak sharpening above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet10
Peak 9
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | Demo of Peak detection and measurement with peak sharpening | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | 0 | 0 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold, Slope threshold, and Peak sharpening above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet11
Peak 10
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | Demo of Peak detection and measurement with peak sharpening | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | 0 | 0 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | Set the Amplitude threshold, Slope threshold, and Peak sharpening above so the peaks are detected. | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #NUM! | #NUM! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 2
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)